## Slide 1: Dworshak Reservoir Regulation Water Year 2017
US Army Corps of Engineers
BUILDING STRONG®
Stephen Hall P.E.
Water Management Program Manager
Walla Walla District
December 12th, 2017

## Slide 2: So What about 2017??
Unit 3 Outage…
Power house discharge limited
To 45% of normal
+
Record runoff in March…
=

## Slide 3: A Perfect Storm

## Slide 4: Brief Recap of Weather

## Slide 7
April to July = 2.90 MAF
March to June = 3.98 MAF

## Slide 8
2017

## Slide 9
Chart: 2017 Dworshak Operations

## Slide 10
Chart: Flow (kCfs)
TMT Meetings

## Slide 11
Dworshak USACE Proposed Operations

## Slide 12
Chart: BiOp Operations
 | 5000

## Slide 13
Chart: Temperature Augmentation and Reservoir Refill
| 42856 | 42857 | 42858 | 42859 | 42860 | 42861 | 42862 | 42863 | 42864 | 42865 | 42866 | 42867 | 42868 | 42869 | 42870 | 42871 | 42872 | 42873 | 42874 | 42875 | 42876 | 42877 | 42878 | 42879 | 42880 | 42881 | 42882 | 42883 | 42884 | 42885 | 42886 | 42887 | 42888 | 42889 | 42890 | 42891 | 42892 | 42893 | 42894 | 42895 | 42896 | 42897 | 42898 | 42899 | 42900 | 42901 | 42902 | 42903 | 42904 | 42905 | 42906 | 42907 | 42908 | 42909 | 42910 | 42911 | 42912 | 42913 | 42914 | 42915 | 42916 | 42917 | 42918 | 42919 | 42920 | 42921 | 42922 | 42923 | 42924 | 42925 | 42926 | 42927 | 42928 | 42929 | 42930 | 42931 | 42932 | 42933 | 42934 | 42935 | 42936 | 42937 | 42938 | 42939 | 42940 | 42941 | 42942 | 42943 | 42944 | 42945 | 42946 | 42947
 | 5000

## Slide 14
Chart: Total Disolved Gas Operations

## Slide 15
Chart: Temperature Operations
| 42826 | 42826 | 42826 | 42826 | 42826 | 42826 | 42826 | 42826 | 42826 | 42826 | 42826 | 42826 | 42826 | 42826 | 42826 | 42826 | 42826 | 42826 | 42826 | 42826 | 42826 | 42826 | 42826 | 42826 | 42827 | 42827 | 42827 | 42827 | 42827 | 42827 | 42827 | 42827 | 42827 | 42827 | 42827 | 42827 | 42827 | 42827 | 42827 | 42827 | 42827 | 42827 | 42827 | 42827 | 42827 | 42827 | 42827 | 42827 | 42828 | 42828 | 42828 | 42828 | 42828 | 42828 | 42828 | 42828 | 42828 | 42828 | 42828 | 42828 | 42828 | 42828 | 42828 | 42828 | 42828 | 42828 | 42828 | 42828 | 42828 | 42828 | 42828 | 42828 | 42829 | 42829 | 42829 | 42829 | 42829 | 42829 | 42829 | 42829 | 42829 | 42829 | 42829 | 42829 | 42829 | 42829 | 42829 | 42829 | 42829 | 42829 | 42829 | 42829 | 42829 | 42829 | 42829 | 42829 | 42830 | 42830 | 42830 | 42830 | 42830 | 42830 | 42830 | 42830 | 42830 | 42830 | 42830 | 42830 | 42830 | 42830 | 42830 | 42830 | 42830 | 42830 | 42830 | 42830 | 42830 | 42830 | 42830 | 42830 | 42831 | 42831 | 42831 | 42831 | 42831 | 42831 | 42831 | 42831 | 42831 | 42831 | 42831 | 42831 | 42831 | 42831 | 42831 | 42831 | 42831 | 42831 | 42831 | 42831 | 42831 | 42831 | 42831 | 42831 | 42832 | 42832 | 42832 | 42832 | 42832 | 42832 | 42832 | 42832 | 42832 | 42832 | 42832 | 42832 | 42832 | 42832 | 42832 | 42832 | 42832 | 42832 | 42832 | 42832 | 42832 | 42832 | 42832 | 42832 | 42833 | 42833 | 42833 | 42833 | 42833 | 42833 | 42833 | 42833 | 42833 | 42833 | 42833 | 42833 | 42833 | 42833 | 42833 | 42833 | 42833 | 42833 | 42833 | 42833 | 42833 | 42833 | 42833 | 42833 | 42834 | 42834 | 42834 | 42834 | 42834 | 42834 | 42834 | 42834 | 42834 | 42834 | 42834 | 42834 | 42834 | 42834 | 42834 | 42834 | 42834 | 42834 | 42834 | 42834 | 42834 | 42834 | 42834 | 42834 | 42835 | 42835 | 42835 | 42835 | 42835 | 42835 | 42835 | 42835 | 42835 | 42835 | 42835 | 42835 | 42835 | 42835 | 42835 | 42835 | 42835 | 42835 | 42835 | 42835 | 42835 | 42835 | 42835 | 42835 | 42836 | 42836 | 42836 | 42836 | 42836 | 42836 | 42836 | 42836 | 42836 | 42836 | 42836 | 42836 | 42836 | 42836 | 42836 | 42836 | 42836 | 42836 | 42836 | 42836 | 42836 | 42836 | 42836 | 42836 | 42837 | 42837 | 42837 | 42837 | 42837 | 42837 | 42837 | 42837 | 42837 | 42837 | 42837 | 42837 | 42837 | 42837 | 42837 | 42837 | 42837 | 42837 | 42837 | 42837 | 42837 | 42837 | 42837 | 42837 | 42838 | 42838 | 42838 | 42838 | 42838 | 42838 | 42838 | 42838 | 42838 | 42838 | 42838 | 42838 | 42838 | 42838 | 42838 | 42838 | 42838 | 42838 | 42838 | 42838 | 42838 | 42838 | 42838 | 42838 | 42839 | 42839 | 42839 | 42839 | 42839 | 42839 | 42839 | 42839 | 42839 | 42839 | 42839 | 42839 | 42839 | 42839 | 42839 | 42839 | 42839 | 42839 | 42839 | 42839 | 42839 | 42839 | 42839 | 42839 | 42840 | 42840 | 42840 | 42840 | 42840 | 42840 | 42840 | 42840 | 42840 | 42840 | 42840 | 42840 | 42840 | 42840 | 42840 | 42840 | 42840 | 42840 | 42840 | 42840 | 42840 | 42840 | 42840 | 42840 | 42841 | 42841 | 42841 | 42841 | 42841 | 42841 | 42841 | 42841 | 42841 | 42841 | 42841 | 42841 | 42841 | 42841 | 42841 | 42841 | 42841 | 42841 | 42841 | 42841 | 42841 | 42841 | 42841 | 42841 | 42842 | 42842 | 42842 | 42842 | 42842 | 42842 | 42842 | 42842 | 42842 | 42842 | 42842 | 42842 | 42842 | 42842 | 42842 | 42842 | 42842 | 42842 | 42842 | 42842 | 42842 | 42842 | 42842 | 42842 | 42843 | 42843 | 42843 | 42843 | 42843 | 42843 | 42843 | 42843 | 42843 | 42843 | 42843 | 42843 | 42843 | 42843 | 42843 | 42843 | 42843 | 42843 | 42843 | 42843 | 42843 | 42843 | 42843 | 42843 | 42844 | 42844 | 42844 | 42844 | 42844 | 42844 | 42844 | 42844 | 42844 | 42844 | 42844 | 42844 | 42844 | 42844 | 42844 | 42844 | 42844 | 42844 | 42844 | 42844 | 42844 | 42844 | 42844 | 42844 | 42845 | 42845 | 42845 | 42845 | 42845 | 42845 | 42845 | 42845 | 42845 | 42845 | 42845 | 42845 | 42845 | 42845 | 42845 | 42845 | 42845 | 42845 | 42845 | 42845 | 42845 | 42845 | 42845 | 42845 | 42846 | 42846 | 42846 | 42846 | 42846 | 42846 | 42846 | 42846 | 42846 | 42846 | 42846 | 42846 | 42846 | 42846 | 42846 | 42846 | 42846 | 42846 | 42846 | 42846 | 42846 | 42846 | 42846 | 42846 | 42847 | 42847 | 42847 | 42847 | 42847 | 42847 | 42847 | 42847 | 42847 | 42847 | 42847 | 42847 | 42847 | 42847 | 42847 | 42847 | 42847 | 42847 | 42847 | 42847 | 42847 | 42847 | 42847 | 42847 | 42848 | 42848 | 42848 | 42848 | 42848 | 42848 | 42848 | 42848 | 42848 | 42848 | 42848 | 42848 | 42848 | 42848 | 42848 | 42848 | 42848 | 42848 | 42848 | 42848 | 42848 | 42848 | 42848 | 42848 | 42849 | 42849 | 42849 | 42849 | 42849 | 42849 | 42849 | 42849 | 42849 | 42849 | 42849 | 42849 | 42849 | 42849 | 42849 | 42849 | 42849 | 42849 | 42849 | 42849 | 42849 | 42849 | 42849 | 42849 | 42850 | 42850 | 42850 | 42850 | 42850 | 42850 | 42850 | 42850 | 42850 | 42850 | 42850 | 42850 | 42850 | 42850 | 42850 | 42850 | 42850 | 42850 | 42850 | 42850 | 42850 | 42850 | 42850 | 42850 | 42851 | 42851 | 42851 | 42851 | 42851 | 42851 | 42851 | 42851 | 42851 | 42851 | 42851 | 42851 | 42851 | 42851 | 42851 | 42851 | 42851 | 42851 | 42851 | 42851 | 42851 | 42851 | 42851 | 42851 | 42852 | 42852 | 42852 | 42852 | 42852 | 42852 | 42852 | 42852 | 42852 | 42852 | 42852 | 42852 | 42852 | 42852 | 42852 | 42852 | 42852 | 42852 | 42852 | 42852 | 42852 | 42852 | 42852 | 42852 | 42853 | 42853 | 42853 | 42853 | 42853 | 42853 | 42853 | 42853 | 42853 | 42853 | 42853 | 42853 | 42853 | 42853 | 42853 | 42853 | 42853 | 42853 | 42853 | 42853 | 42853 | 42853 | 42853 | 42853 | 42854 | 42854 | 42854 | 42854 | 42854 | 42854 | 42854 | 42854 | 42854 | 42854 | 42854 | 42854 | 42854 | 42854 | 42854 | 42854 | 42854 | 42854 | 42854 | 42854 | 42854 | 42854 | 42854 | 42854 | 42855 | 42855 | 42855 | 42855 | 42855 | 42855 | 42855 | 42855 | 42855 | 42855 | 42855 | 42855 | 42855 | 42855 | 42855 | 42855 | 42855 | 42855 | 42855 | 42855 | 42855 | 42855 | 42855 | 42855 | 42856 | 42856 | 42856 | 42856 | 42856 | 42856 | 42856 | 42856 | 42856 | 42856 | 42856 | 42856 | 42856 | 42856 | 42856 | 42856 | 42856 | 42856 | 42856 | 42856 | 42856 | 42856 | 42856 | 42856 | 42857 | 42857 | 42857 | 42857 | 42857 | 42857 | 42857 | 42857 | 42857 | 42857 | 42857 | 42857 | 42857 | 42857 | 42857 | 42857 | 42857 | 42857 | 42857 | 42857 | 42857 | 42857 | 42857 | 42857 | 42858 | 42858 | 42858 | 42858 | 42858 | 42858 | 42858 | 42858 | 42858 | 42858 | 42858 | 42858 | 42858 | 42858 | 42858 | 42858 | 42858 | 42858 | 42858 | 42858 | 42858 | 42858 | 42858 | 42858 | 42859 | 42859 | 42859 | 42859 | 42859 | 42859 | 42859 | 42859 | 42859 | 42859 | 42859 | 42859 | 42859 | 42859 | 42859 | 42859 | 42859 | 42859 | 42859 | 42859 | 42859 | 42859 | 42859 | 42859 | 42860 | 42860 | 42860 | 42860 | 42860 | 42860 | 42860 | 42860 | 42860 | 42860 | 42860 | 42860 | 42860 | 42860 | 42860 | 42860 | 42860 | 42860 | 42860 | 42860 | 42860 | 42860 | 42860 | 42860 | 42861 | 42861 | 42861 | 42861 | 42861 | 42861 | 42861 | 42861 | 42861 | 42861 | 42861 | 42861 | 42861 | 42861 | 42861 | 42861 | 42861 | 42861 | 42861 | 42861 | 42861 | 42861 | 42861 | 42861 | 42862 | 42862 | 42862 | 42862 | 42862 | 42862 | 42862 | 42862 | 42862 | 42862 | 42862 | 42862 | 42862 | 42862 | 42862 | 42862 | 42862 | 42862 | 42862 | 42862 | 42862 | 42862 | 42862 | 42862 | 42863 | 42863 | 42863 | 42863 | 42863 | 42863 | 42863 | 42863 | 42863 | 42863 | 42863 | 42863 | 42863 | 42863 | 42863 | 42863 | 42863 | 42863 | 42863 | 42863 | 42863 | 42863 | 42863 | 42863 | 42864 | 42864 | 42864 | 42864 | 42864 | 42864 | 42864 | 42864 | 42864 | 42864 | 42864 | 42864 | 42864 | 42864 | 42864 | 42864 | 42864 | 42864 | 42864 | 42864 | 42864 | 42864 | 42864 | 42864 | 42865 | 42865 | 42865 | 42865 | 42865 | 42865 | 42865 | 42865 | 42865 | 42865 | 42865 | 42865 | 42865 | 42865 | 42865 | 42865 | 42865 | 42865 | 42865 | 42865 | 42865 | 42865 | 42865 | 42865 | 42866 | 42866 | 42866 | 42866 | 42866 | 42866 | 42866 | 42866 | 42866 | 42866 | 42866 | 42866 | 42866 | 42866 | 42866 | 42866 | 42866 | 42866 | 42866 | 42866 | 42866 | 42866 | 42866 | 42866 | 42867 | 42867 | 42867 | 42867 | 42867 | 42867 | 42867 | 42867 | 42867 | 42867 | 42867 | 42867 | 42867 | 42867 | 42867 | 42867 | 42867 | 42867 | 42867 | 42867 | 42867 | 42867 | 42867 | 42867 | 42868 | 42868 | 42868 | 42868 | 42868 | 42868 | 42868 | 42868 | 42868 | 42868 | 42868 | 42868 | 42868 | 42868 | 42868 | 42868 | 42868 | 42868 | 42868 | 42868 | 42868 | 42868 | 42868 | 42868 | 42869 | 42869 | 42869 | 42869 | 42869 | 42869 | 42869 | 42869 | 42869 | 42869 | 42869 | 42869 | 42869 | 42869 | 42869 | 42869 | 42869 | 42869 | 42869 | 42869 | 42869 | 42869 | 42869 | 42869 | 42870 | 42870 | 42870 | 42870 | 42870 | 42870 | 42870 | 42870 | 42870 | 42870 | 42870 | 42870 | 42870 | 42870 | 42870 | 42870 | 42870 | 42870 | 42870 | 42870 | 42870 | 42870 | 42870 | 42870 | 42871 | 42871 | 42871 | 42871 | 42871 | 42871 | 42871 | 42871 | 42871 | 42871 | 42871 | 42871 | 42871 | 42871 | 42871 | 42871 | 42871 | 42871 | 42871 | 42871 | 42871 | 42871 | 42871 | 42871 | 42872 | 42872 | 42872 | 42872 | 42872 | 42872 | 42872 | 42872 | 42872 | 42872 | 42872 | 42872 | 42872 | 42872 | 42872 | 42872 | 42872 | 42872 | 42872 | 42872 | 42872 | 42872 | 42872 | 42872 | 42873 | 42873 | 42873 | 42873 | 42873 | 42873 | 42873 | 42873 | 42873 | 42873 | 42873 | 42873 | 42873 | 42873 | 42873 | 42873 | 42873 | 42873 | 42873 | 42873 | 42873 | 42873 | 42873 | 42873 | 42874 | 42874 | 42874 | 42874 | 42874 | 42874 | 42874 | 42874 | 42874 | 42874 | 42874 | 42874 | 42874 | 42874 | 42874 | 42874 | 42874 | 42874 | 42874 | 42874 | 42874 | 42874 | 42874 | 42874 | 42875 | 42875 | 42875 | 42875 | 42875 | 42875 | 42875 | 42875 | 42875 | 42875 | 42875 | 42875 | 42875 | 42875 | 42875 | 42875 | 42875 | 42875 | 42875 | 42875 | 42875 | 42875 | 42875 | 42875 | 42876 | 42876 | 42876 | 42876 | 42876 | 42876 | 42876 | 42876 | 42876 | 42876 | 42876 | 42876 | 42876 | 42876 | 42876 | 42876 | 42876 | 42876 | 42876 | 42876 | 42876 | 42876 | 42876 | 42876 | 42877 | 42877 | 42877 | 42877 | 42877 | 42877 | 42877 | 42877 | 42877 | 42877 | 42877 | 42877 | 42877 | 42877 | 42877 | 42877 | 42877 | 42877 | 42877 | 42877 | 42877 | 42877 | 42877 | 42877 | 42878 | 42878 | 42878 | 42878 | 42878 | 42878 | 42878 | 42878 | 42878 | 42878 | 42878 | 42878 | 42878 | 42878 | 42878 | 42878 | 42878 | 42878 | 42878 | 42878 | 42878 | 42878 | 42878 | 42878 | 42879 | 42879 | 42879 | 42879 | 42879 | 42879 | 42879 | 42879 | 42879 | 42879 | 42879 | 42879 | 42879 | 42879 | 42879 | 42879 | 42879 | 42879 | 42879 | 42879 | 42879 | 42879 | 42879 | 42879 | 42880 | 42880 | 42880 | 42880 | 42880 | 42880 | 42880 | 42880 | 42880 | 42880 | 42880 | 42880 | 42880 | 42880 | 42880 | 42880 | 42880 | 42880 | 42880 | 42880 | 42880 | 42880 | 42880 | 42880 | 42881 | 42881 | 42881 | 42881 | 42881 | 42881 | 42881 | 42881 | 42881 | 42881 | 42881 | 42881 | 42881 | 42881 | 42881 | 42881 | 42881 | 42881 | 42881 | 42881 | 42881 | 42881 | 42881 | 42881 | 42882 | 42882 | 42882 | 42882 | 42882 | 42882 | 42882 | 42882 | 42882 | 42882 | 42882 | 42882 | 42882 | 42882 | 42882 | 42882 | 42882 | 42882 | 42882 | 42882 | 42882 | 42882 | 42882 | 42882 | 42883 | 42883 | 42883 | 42883 | 42883 | 42883 | 42883 | 42883 | 42883 | 42883 | 42883 | 42883 | 42883 | 42883 | 42883 | 42883 | 42883 | 42883 | 42883 | 42883 | 42883 | 42883 | 42883 | 42883 | 42884 | 42884 | 42884 | 42884 | 42884 | 42884 | 42884 | 42884 | 42884 | 42884 | 42884 | 42884 | 42884 | 42884 | 42884 | 42884 | 42884 | 42884 | 42884 | 42884 | 42884 | 42884 | 42884 | 42884 | 42885 | 42885 | 42885 | 42885 | 42885 | 42885 | 42885 | 42885 | 42885 | 42885 | 42885 | 42885 | 42885 | 42885 | 42885 | 42885 | 42885 | 42885 | 42885 | 42885 | 42885 | 42885 | 42885 | 42885 | 42886 | 42886 | 42886 | 42886 | 42886 | 42886 | 42886 | 42886 | 42886 | 42886 | 42886 | 42886 | 42886 | 42886 | 42886 | 42886 | 42886 | 42886 | 42886 | 42886 | 42886 | 42886 | 42886 | 42886 | 42887 | 42887 | 42887 | 42887 | 42887 | 42887 | 42887 | 42887 | 42887 | 42887 | 42887 | 42887 | 42887 | 42887 | 42887 | 42887 | 42887 | 42887 | 42887 | 42887 | 42887 | 42887 | 42887 | 42887 | 42888 | 42888 | 42888 | 42888 | 42888 | 42888 | 42888 | 42888 | 42888 | 42888 | 42888 | 42888 | 42888 | 42888 | 42888 | 42888 | 42888 | 42888 | 42888 | 42888 | 42888 | 42888 | 42888 | 42888 | 42889 | 42889 | 42889 | 42889 | 42889 | 42889 | 42889 | 42889 | 42889 | 42889 | 42889 | 42889 | 42889 | 42889 | 42889 | 42889 | 42889 | 42889 | 42889 | 42889 | 42889 | 42889 | 42889 | 42889 | 42890 | 42890 | 42890 | 42890 | 42890 | 42890 | 42890 | 42890 | 42890 | 42890 | 42890 | 42890 | 42890 | 42890 | 42890 | 42890 | 42890 | 42890 | 42890 | 42890 | 42890 | 42890 | 42890 | 42890 | 42891 | 42891 | 42891 | 42891 | 42891 | 42891 | 42891 | 42891 | 42891 | 42891 | 42891 | 42891 | 42891 | 42891 | 42891 | 42891 | 42891 | 42891 | 42891 | 42891 | 42891 | 42891 | 42891 | 42891 | 42892 | 42892 | 42892 | 42892 | 42892 | 42892 | 42892 | 42892 | 42892 | 42892 | 42892 | 42892 | 42892 | 42892 | 42892 | 42892 | 42892 | 42892 | 42892 | 42892 | 42892 | 42892 | 42892 | 42892 | 42893 | 42893 | 42893 | 42893 | 42893 | 42893 | 42893 | 42893 | 42893 | 42893 | 42893 | 42893 | 42893 | 42893 | 42893 | 42893 | 42893 | 42893 | 42893 | 42893 | 42893 | 42893 | 42893 | 42893 | 42894 | 42894 | 42894 | 42894 | 42894 | 42894 | 42894 | 42894 | 42894 | 42894 | 42894 | 42894 | 42894 | 42894 | 42894 | 42894 | 42894 | 42894 | 42894 | 42894 | 42894 | 42894 | 42894 | 42894 | 42895 | 42895 | 42895 | 42895 | 42895 | 42895 | 42895 | 42895 | 42895 | 42895 | 42895 | 42895 | 42895 | 42895 | 42895 | 42895 | 42895 | 42895 | 42895 | 42895 | 42895 | 42895 | 42895 | 42895 | 42896 | 42896 | 42896 | 42896 | 42896 | 42896 | 42896 | 42896 | 42896 | 42896 | 42896 | 42896 | 42896 | 42896 | 42896 | 42896 | 42896 | 42896 | 42896 | 42896 | 42896 | 42896 | 42896 | 42896 | 42897 | 42897 | 42897 | 42897 | 42897 | 42897 | 42897 | 42897 | 42897 | 42897 | 42897 | 42897 | 42897 | 42897 | 42897 | 42897 | 42897 | 42897 | 42897 | 42897 | 42897 | 42897 | 42897 | 42897 | 42898 | 42898 | 42898 | 42898 | 42898 | 42898 | 42898 | 42898 | 42898 | 42898 | 42898 | 42898 | 42898 | 42898 | 42898 | 42898 | 42898 | 42898 | 42898 | 42898 | 42898 | 42898 | 42898 | 42898 | 42899 | 42899 | 42899 | 42899 | 42899 | 42899 | 42899 | 42899 | 42899 | 42899 | 42899 | 42899 | 42899 | 42899 | 42899 | 42899 | 42899 | 42899 | 42899 | 42899 | 42899 | 42899 | 42899 | 42899 | 42900 | 42900 | 42900 | 42900 | 42900 | 42900 | 42900 | 42900 | 42900 | 42900 | 42900 | 42900 | 42900 | 42900 | 42900 | 42900 | 42900 | 42900 | 42900 | 42900 | 42900 | 42900 | 42900 | 42900 | 42901 | 42901 | 42901 | 42901 | 42901 | 42901 | 42901 | 42901 | 42901 | 42901 | 42901 | 42901 | 42901 | 42901 | 42901 | 42901 | 42901 | 42901 | 42901 | 42901 | 42901 | 42901 | 42901 | 42901 | 42902 | 42902 | 42902 | 42902 | 42902 | 42902 | 42902 | 42902 | 42902 | 42902 | 42902 | 42902 | 42902 | 42902 | 42902 | 42902 | 42902 | 42902 | 42902 | 42902 | 42902 | 42902 | 42902 | 42902 | 42903 | 42903 | 42903 | 42903 | 42903 | 42903 | 42903 | 42903 | 42903 | 42903 | 42903 | 42903 | 42903 | 42903 | 42903 | 42903 | 42903 | 42903 | 42903 | 42903 | 42903 | 42903 | 42903 | 42903 | 42904 | 42904 | 42904 | 42904 | 42904 | 42904 | 42904 | 42904 | 42904 | 42904 | 42904 | 42904 | 42904 | 42904 | 42904 | 42904 | 42904 | 42904 | 42904 | 42904 | 42904 | 42904 | 42904 | 42904 | 42905 | 42905 | 42905 | 42905 | 42905 | 42905 | 42905 | 42905 | 42905 | 42905 | 42905 | 42905 | 42905 | 42905 | 42905 | 42905 | 42905 | 42905 | 42905 | 42905 | 42905 | 42905 | 42905 | 42905 | 42906 | 42906 | 42906 | 42906 | 42906 | 42906 | 42906 | 42906 | 42906 | 42906 | 42906 | 42906 | 42906 | 42906 | 42906 | 42906 | 42906 | 42906 | 42906 | 42906 | 42906 | 42906 | 42906 | 42906 | 42907 | 42907 | 42907 | 42907 | 42907 | 42907 | 42907 | 42907 | 42907 | 42907 | 42907 | 42907 | 42907 | 42907 | 42907 | 42907 | 42907 | 42907 | 42907 | 42907 | 42907 | 42907 | 42907 | 42907 | 42908 | 42908 | 42908 | 42908 | 42908 | 42908 | 42908 | 42908 | 42908 | 42908 | 42908 | 42908 | 42908 | 42908 | 42908 | 42908 | 42908 | 42908 | 42908 | 42908 | 42908 | 42908 | 42908 | 42908 | 42909 | 42909 | 42909 | 42909 | 42909 | 42909 | 42909 | 42909 | 42909 | 42909 | 42909 | 42909 | 42909 | 42909 | 42909 | 42909 | 42909 | 42909 | 42909 | 42909 | 42909 | 42909 | 42909 | 42909 | 42910 | 42910 | 42910 | 42910 | 42910 | 42910 | 42910 | 42910 | 42910 | 42910 | 42910 | 42910 | 42910 | 42910 | 42910 | 42910 | 42910 | 42910 | 42910 | 42910 | 42910 | 42910 | 42910 | 42910 | 42911 | 42911 | 42911 | 42911 | 42911 | 42911 | 42911 | 42911 | 42911 | 42911 | 42911 | 42911 | 42911 | 42911 | 42911 | 42911 | 42911 | 42911 | 42911 | 42911 | 42911 | 42911 | 42911 | 42911 | 42912 | 42912 | 42912 | 42912 | 42912 | 42912 | 42912 | 42912 | 42912 | 42912 | 42912 | 42912 | 42912 | 42912 | 42912 | 42912 | 42912 | 42912 | 42912 | 42912 | 42912 | 42912 | 42912 | 42912 | 42913 | 42913 | 42913 | 42913 | 42913 | 42913 | 42913 | 42913 | 42913 | 42913 | 42913 | 42913 | 42913 | 42913 | 42913 | 42913 | 42913 | 42913 | 42913 | 42913 | 42913 | 42913 | 42913 | 42913 | 42914 | 42914 | 42914 | 42914 | 42914 | 42914 | 42914 | 42914 | 42914 | 42914 | 42914 | 42914 | 42914 | 42914 | 42914 | 42914 | 42914 | 42914 | 42914 | 42914 | 42914 | 42914 | 42914 | 42914 | 42915 | 42915 | 42915 | 42915 | 42915 | 42915 | 42915 | 42915 | 42915 | 42915 | 42915 | 42915 | 42915 | 42915 | 42915 | 42915 | 42915 | 42915 | 42915 | 42915 | 42915 | 42915 | 42915 | 42915 | 42916 | 42916 | 42916 | 42916 | 42916 | 42916 | 42916 | 42916 | 42916 | 42916 | 42916 | 42916 | 42916 | 42916 | 42916 | 42916 | 42916 | 42916 | 42916 | 42916 | 42916 | 42916 | 42916 | 42916 | 42917 | 42917 | 42917 | 42917 | 42917 | 42917 | 42917 | 42917 | 42917 | 42917 | 42917 | 42917 | 42917 | 42917 | 42917 | 42917 | 42917 | 42917 | 42917 | 42917 | 42917 | 42917 | 42917 | 42917 | 42918 | 42918 | 42918 | 42918 | 42918 | 42918 | 42918 | 42918 | 42918 | 42918 | 42918 | 42918 | 42918 | 42918 | 42918 | 42918 | 42918 | 42918 | 42918 | 42918 | 42918 | 42918 | 42918 | 42918 | 42919 | 42919 | 42919 | 42919 | 42919 | 42919 | 42919 | 42919 | 42919 | 42919 | 42919 | 42919 | 42919 | 42919 | 42919 | 42919 | 42919 | 42919 | 42919 | 42919 | 42919 | 42919 | 42919 | 42919 | 42920 | 42920 | 42920 | 42920 | 42920 | 42920 | 42920 | 42920 | 42920 | 42920 | 42920 | 42920 | 42920 | 42920 | 42920 | 42920 | 42920 | 42920 | 42920 | 42920 | 42920 | 42920 | 42920 | 42920 | 42921 | 42921 | 42921 | 42921 | 42921 | 42921 | 42921 | 42921 | 42921 | 42921 | 42921 | 42921 | 42921 | 42921 | 42921 | 42921 | 42921 | 42921 | 42921 | 42921 | 42921 | 42921 | 42921 | 42921 | 42922 | 42922 | 42922 | 42922 | 42922 | 42922 | 42922 | 42922 | 42922 | 42922 | 42922 | 42922 | 42922 | 42922 | 42922 | 42922 | 42922 | 42922 | 42922 | 42922 | 42922 | 42922 | 42922 | 42922 | 42923 | 42923 | 42923 | 42923 | 42923 | 42923 | 42923 | 42923 | 42923 | 42923 | 42923 | 42923 | 42923 | 42923 | 42923 | 42923 | 42923 | 42923 | 42923 | 42923 | 42923 | 42923 | 42923 | 42923 | 42924 | 42924 | 42924 | 42924 | 42924 | 42924 | 42924 | 42924 | 42924 | 42924 | 42924 | 42924 | 42924 | 42924 | 42924 | 42924 | 42924 | 42924 | 42924 | 42924 | 42924 | 42924 | 42924 | 42924 | 42925 | 42925 | 42925 | 42925 | 42925 | 42925 | 42925 | 42925 | 42925 | 42925 | 42925 | 42925 | 42925 | 42925 | 42925 | 42925 | 42925 | 42925 | 42925 | 42925 | 42925 | 42925 | 42925 | 42925 | 42926 | 42926 | 42926 | 42926 | 42926 | 42926 | 42926 | 42926 | 42926 | 42926 | 42926 | 42926 | 42926 | 42926 | 42926 | 42926 | 42926 | 42926 | 42926 | 42926 | 42926 | 42926 | 42926 | 42926 | 42927 | 42927 | 42927 | 42927 | 42927 | 42927 | 42927 | 42927 | 42927 | 42927 | 42927 | 42927 | 42927 | 42927 | 42927 | 42927 | 42927 | 42927 | 42927 | 42927 | 42927 | 42927 | 42927 | 42927 | 42928 | 42928 | 42928 | 42928 | 42928 | 42928 | 42928 | 42928 | 42928 | 42928 | 42928 | 42928 | 42928 | 42928 | 42928 | 42928 | 42928 | 42928 | 42928 | 42928 | 42928 | 42928 | 42928 | 42928 | 42929 | 42929 | 42929 | 42929 | 42929 | 42929 | 42929 | 42929 | 42929 | 42929 | 42929 | 42929 | 42929 | 42929 | 42929 | 42929 | 42929 | 42929 | 42929 | 42929 | 42929 | 42929 | 42929 | 42929 | 42930 | 42930 | 42930 | 42930 | 42930 | 42930 | 42930 | 42930 | 42930 | 42930 | 42930 | 42930 | 42930 | 42930 | 42930 | 42930 | 42930 | 42930 | 42930 | 42930 | 42930 | 42930 | 42930 | 42930 | 42931 | 42931 | 42931 | 42931 | 42931 | 42931 | 42931 | 42931 | 42931 | 42931 | 42931 | 42931 | 42931 | 42931 | 42931 | 42931 | 42931 | 42931 | 42931 | 42931 | 42931 | 42931 | 42931 | 42931 | 42932 | 42932 | 42932 | 42932 | 42932 | 42932 | 42932 | 42932 | 42932 | 42932 | 42932 | 42932 | 42932 | 42932 | 42932 | 42932 | 42932 | 42932 | 42932 | 42932 | 42932 | 42932 | 42932 | 42932 | 42933 | 42933 | 42933 | 42933 | 42933 | 42933 | 42933 | 42933 | 42933 | 42933 | 42933 | 42933 | 42933 | 42933 | 42933 | 42933 | 42933 | 42933 | 42933 | 42933 | 42933 | 42933 | 42933 | 42933 | 42934 | 42934 | 42934 | 42934 | 42934 | 42934 | 42934 | 42934 | 42934 | 42934 | 42934 | 42934 | 42934 | 42934 | 42934 | 42934 | 42934 | 42934 | 42934 | 42934 | 42934 | 42934 | 42934 | 42934 | 42935 | 42935 | 42935 | 42935 | 42935 | 42935 | 42935 | 42935 | 42935 | 42935 | 42935 | 42935 | 42935 | 42935 | 42935 | 42935 | 42935 | 42935 | 42935 | 42935 | 42935 | 42935 | 42935 | 42935 | 42936 | 42936 | 42936 | 42936 | 42936 | 42936 | 42936 | 42936 | 42936 | 42936 | 42936 | 42936 | 42936 | 42936 | 42936 | 42936 | 42936 | 42936 | 42936 | 42936 | 42936 | 42936 | 42936 | 42936 | 42937 | 42937 | 42937 | 42937 | 42937 | 42937 | 42937 | 42937 | 42937 | 42937 | 42937 | 42937 | 42937 | 42937 | 42937 | 42937 | 42937 | 42937 | 42937 | 42937 | 42937 | 42937 | 42937 | 42937 | 42938 | 42938 | 42938 | 42938 | 42938 | 42938 | 42938 | 42938 | 42938 | 42938 | 42938 | 42938 | 42938 | 42938 | 42938 | 42938 | 42938 | 42938 | 42938 | 42938 | 42938 | 42938 | 42938 | 42938 | 42939 | 42939 | 42939 | 42939 | 42939 | 42939 | 42939 | 42939 | 42939 | 42939 | 42939 | 42939 | 42939 | 42939 | 42939 | 42939 | 42939 | 42939 | 42939 | 42939 | 42939 | 42939 | 42939 | 42939 | 42940 | 42940 | 42940 | 42940 | 42940 | 42940 | 42940 | 42940 | 42940 | 42940 | 42940 | 42940 | 42940 | 42940 | 42940 | 42940 | 42940 | 42940 | 42940 | 42940 | 42940 | 42940 | 42940 | 42940 | 42941 | 42941 | 42941 | 42941 | 42941 | 42941 | 42941 | 42941 | 42941 | 42941 | 42941 | 42941 | 42941 | 42941 | 42941 | 42941 | 42941 | 42941 | 42941 | 42941 | 42941 | 42941 | 42941 | 42941 | 42942 | 42942 | 42942 | 42942 | 42942 | 42942 | 42942 | 42942 | 42942 | 42942 | 42942 | 42942 | 42942 | 42942 | 42942 | 42942 | 42942 | 42942 | 42942 | 42942 | 42942 | 42942 | 42942 | 42942 | 42943 | 42943 | 42943 | 42943 | 42943 | 42943 | 42943 | 42943 | 42943 | 42943 | 42943 | 42943 | 42943 | 42943 | 42943 | 42943 | 42943 | 42943 | 42943 | 42943 | 42943 | 42943 | 42943 | 42943 | 42944 | 42944 | 42944 | 42944 | 42944 | 42944 | 42944 | 42944 | 42944 | 42944 | 42944 | 42944 | 42944 | 42944 | 42944 | 42944 | 42944 | 42944 | 42944 | 42944 | 42944 | 42944 | 42944 | 42944 | 42945 | 42945 | 42945 | 42945 | 42945 | 42945 | 42945 | 42945 | 42945 | 42945 | 42945 | 42945 | 42945 | 42945 | 42945 | 42945 | 42945 | 42945 | 42945 | 42945 | 42945 | 42945 | 42945 | 42945 | 42946 | 42946 | 42946 | 42946 | 42946 | 42946 | 42946 | 42946 | 42946 | 42946 | 42946 | 42946 | 42946 | 42946 | 42946 | 42946 | 42946 | 42946 | 42946 | 42946 | 42946 | 42946 | 42946 | 42946 | 42947 | 42947 | 42947 | 42947 | 42947 | 42947 | 42947 | 42947 | 42947 | 42947 | 42947 | 42947 | 42947 | 42947 | 42947 | 42947 | 42947 | 42947 | 42947 | 42947 | 42947 | 42947 | 42947 | 42947 | 42948 | 42948 | 42948 | 42948 | 42948 | 42948 | 42948 | 42948 | 42948 | 42948 | 42948 | 42948 | 42948 | 42948 | 42948 | 42948 | 42948 | 42948 | 42948 | 42948 | 42948 | 42948 | 42948 | 42948 | 42949 | 42949 | 42949 | 42949 | 42949 | 42949 | 42949 | 42949 | 42949 | 42949 | 42949 | 42949 | 42949 | 42949 | 42949 | 42949 | 42949 | 42949 | 42949 | 42949 | 42949 | 42949 | 42949 | 42949 | 42950 | 42950 | 42950 | 42950 | 42950 | 42950 | 42950 | 42950 | 42950 | 42950 | 42950 | 42950 | 42950 | 42950 | 42950 | 42950 | 42950 | 42950 | 42950 | 42950 | 42950 | 42950 | 42950 | 42950 | 42951 | 42951 | 42951 | 42951 | 42951 | 42951 | 42951 | 42951 | 42951 | 42951 | 42951 | 42951 | 42951 | 42951 | 42951 | 42951 | 42951 | 42951 | 42951 | 42951 | 42951 | 42951 | 42951 | 42951 | 42952 | 42952 | 42952 | 42952 | 42952 | 42952 | 42952 | 42952 | 42952 | 42952 | 42952 | 42952 | 42952 | 42952 | 42952 | 42952 | 42952 | 42952 | 42952 | 42952 | 42952 | 42952 | 42952 | 42952 | 42953 | 42953 | 42953 | 42953 | 42953 | 42953 | 42953 | 42953 | 42953 | 42953 | 42953 | 42953 | 42953 | 42953 | 42953 | 42953 | 42953 | 42953 | 42953 | 42953 | 42953 | 42953 | 42953 | 42953 | 42954 | 42954 | 42954 | 42954 | 42954 | 42954 | 42954 | 42954 | 42954 | 42954 | 42954 | 42954 | 42954 | 42954 | 42954 | 42954 | 42954 | 42954 | 42954 | 42954 | 42954 | 42954 | 42954 | 42954 | 42955 | 42955 | 42955 | 42955 | 42955 | 42955 | 42955 | 42955 | 42955 | 42955 | 42955 | 42955 | 42955 | 42955 | 42955 | 42955 | 42955 | 42955 | 42955 | 42955 | 42955 | 42955 | 42955 | 42955 | 42956 | 42956 | 42956 | 42956 | 42956 | 42956 | 42956 | 42956 | 42956 | 42956 | 42956 | 42956 | 42956 | 42956 | 42956 | 42956 | 42956 | 42956 | 42956 | 42956 | 42956 | 42956 | 42956 | 42956 | 42957 | 42957 | 42957 | 42957 | 42957 | 42957 | 42957 | 42957 | 42957 | 42957 | 42957 | 42957 | 42957 | 42957 | 42957 | 42957 | 42957 | 42957 | 42957 | 42957 | 42957 | 42957 | 42957 | 42957 | 42958 | 42958 | 42958 | 42958 | 42958 | 42958 | 42958 | 42958 | 42958 | 42958 | 42958 | 42958 | 42958 | 42958 | 42958 | 42958 | 42958 | 42958 | 42958 | 42958 | 42958 | 42958 | 42958 | 42958 | 42959 | 42959 | 42959 | 42959 | 42959 | 42959 | 42959 | 42959 | 42959 | 42959 | 42959 | 42959 | 42959 | 42959 | 42959 | 42959 | 42959 | 42959 | 42959 | 42959 | 42959 | 42959 | 42959 | 42959 | 42960 | 42960 | 42960 | 42960 | 42960 | 42960 | 42960 | 42960 | 42960 | 42960 | 42960 | 42960 | 42960 | 42960 | 42960 | 42960 | 42960 | 42960 | 42960 | 42960 | 42960 | 42960 | 42960 | 42960 | 42961 | 42961 | 42961 | 42961 | 42961 | 42961 | 42961 | 42961 | 42961 | 42961 | 42961 | 42961 | 42961 | 42961 | 42961 | 42961 | 42961 | 42961 | 42961 | 42961 | 42961 | 42961 | 42961 | 42961 | 42962 | 42962 | 42962 | 42962 | 42962 | 42962 | 42962 | 42962 | 42962 | 42962 | 42962 | 42962 | 42962 | 42962 | 42962 | 42962 | 42962 | 42962 | 42962 | 42962 | 42962 | 42962 | 42962 | 42962 | 42963 | 42963 | 42963 | 42963 | 42963 | 42963 | 42963 | 42963 | 42963 | 42963 | 42963 | 42963 | 42963 | 42963 | 42963 | 42963 | 42963 | 42963 | 42963 | 42963 | 42963 | 42963 | 42963 | 42963 | 42964 | 42964 | 42964 | 42964 | 42964 | 42964 | 42964 | 42964 | 42964 | 42964 | 42964 | 42964 | 42964 | 42964 | 42964 | 42964 | 42964 | 42964 | 42964 | 42964 | 42964 | 42964 | 42964 | 42964 | 42965 | 42965 | 42965 | 42965 | 42965 | 42965 | 42965 | 42965 | 42965 | 42965 | 42965 | 42965 | 42965 | 42965 | 42965 | 42965 | 42965 | 42965 | 42965 | 42965 | 42965 | 42965 | 42965 | 42965 | 42966 | 42966 | 42966 | 42966 | 42966 | 42966 | 42966 | 42966 | 42966 | 42966 | 42966 | 42966 | 42966 | 42966 | 42966 | 42966 | 42966 | 42966 | 42966 | 42966 | 42966 | 42966 | 42966 | 42966 | 42967 | 42967 | 42967 | 42967 | 42967 | 42967 | 42967 | 42967 | 42967 | 42967 | 42967 | 42967 | 42967 | 42967 | 42967 | 42967 | 42967 | 42967 | 42967 | 42967 | 42967 | 42967 | 42967 | 42967 | 42968 | 42968 | 42968 | 42968 | 42968 | 42968 | 42968 | 42968 | 42968 | 42968 | 42968 | 42968 | 42968 | 42968 | 42968 | 42968 | 42968 | 42968 | 42968 | 42968 | 42968 | 42968 | 42968 | 42968 | 42969 | 42969 | 42969 | 42969 | 42969 | 42969 | 42969 | 42969 | 42969 | 42969 | 42969 | 42969 | 42969 | 42969 | 42969 | 42969 | 42969 | 42969 | 42969 | 42969 | 42969 | 42969 | 42969 | 42969 | 42970 | 42970 | 42970 | 42970 | 42970 | 42970 | 42970 | 42970 | 42970 | 42970 | 42970 | 42970 | 42970 | 42970 | 42970 | 42970 | 42970 | 42970 | 42970 | 42970 | 42970 | 42970 | 42970 | 42970 | 42971 | 42971 | 42971 | 42971 | 42971 | 42971 | 42971 | 42971 | 42971 | 42971 | 42971 | 42971 | 42971 | 42971 | 42971 | 42971 | 42971 | 42971 | 42971 | 42971 | 42971 | 42971 | 42971 | 42971 | 42972 | 42972 | 42972 | 42972 | 42972 | 42972 | 42972 | 42972 | 42972 | 42972 | 42972 | 42972 | 42972 | 42972 | 42972 | 42972 | 42972 | 42972 | 42972 | 42972 | 42972 | 42972 | 42972 | 42972 | 42973 | 42973 | 42973 | 42973 | 42973 | 42973 | 42973 | 42973 | 42973 | 42973 | 42973 | 42973 | 42973 | 42973 | 42973 | 42973 | 42973 | 42973 | 42973 | 42973 | 42973 | 42973 | 42973 | 42973 | 42974 | 42974 | 42974 | 42974 | 42974 | 42974 | 42974 | 42974 | 42974 | 42974 | 42974 | 42974 | 42974 | 42974 | 42974 | 42974 | 42974 | 42974 | 42974 | 42974 | 42974 | 42974 | 42974 | 42974 | 42975 | 42975 | 42975 | 42975 | 42975 | 42975 | 42975 | 42975 | 42975 | 42975 | 42975 | 42975 | 42975 | 42975 | 42975 | 42975 | 42975 | 42975 | 42975 | 42975 | 42975 | 42975 | 42975 | 42975 | 42976 | 42976 | 42976 | 42976 | 42976 | 42976 | 42976 | 42976 | 42976 | 42976 | 42976 | 42976 | 42976 | 42976 | 42976 | 42976 | 42976 | 42976 | 42976 | 42976 | 42976 | 42976 | 42976 | 42976 | 42977 | 42977 | 42977 | 42977 | 42977 | 42977 | 42977 | 42977 | 42977 | 42977 | 42977 | 42977 | 42977 | 42977 | 42977 | 42977 | 42977 | 42977 | 42977 | 42977 | 42977 | 42977 | 42977 | 42977 | 42978 | 42978 | 42978 | 42978 | 42978 | 42978 | 42978 | 42978 | 42978 | 42978 | 42978 | 42978 | 42978 | 42978 | 42978 | 42978 | 42978 | 42978 | 42978 | 42978 | 42978 | 42978 | 42978 | 42978 | 42979 | 42979 | 42979 | 42979 | 42979 | 42979 | 42979 | 42979 | 42979 | 42979 | 42979 | 42979 | 42979 | 42979 | 42979 | 42979 | 42979 | 42979 | 42979 | 42979 | 42979 | 42979 | 42979 | 42979 | 42980 | 42980 | 42980 | 42980 | 42980 | 42980 | 42980 | 42980 | 42980 | 42980 | 42980 | 42980 | 42980 | 42980 | 42980 | 42980 | 42980 | 42980 | 42980 | 42980 | 42980 | 42980 | 42980 | 42980 | 42981 | 42981 | 42981 | 42981 | 42981 | 42981 | 42981 | 42981 | 42981 | 42981 | 42981 | 42981 | 42981 | 42981 | 42981 | 42981 | 42981 | 42981 | 42981 | 42981 | 42981 | 42981 | 42981 | 42981 | 42982 | 42982 | 42982 | 42982 | 42982 | 42982 | 42982 | 42982 | 42982 | 42982 | 42982 | 42982 | 42982 | 42982 | 42982 | 42982 | 42982 | 42982 | 42982 | 42982 | 42982 | 42982 | 42982 | 42982 | 42983 | 42983 | 42983 | 42983 | 42983 | 42983 | 42983 | 42983 | 42983 | 42983 | 42983 | 42983 | 42983 | 42983 | 42983 | 42983 | 42983 | 42983 | 42983 | 42983 | 42983 | 42983 | 42983 | 42983 | 42984 | 42984 | 42984 | 42984 | 42984 | 42984 | 42984 | 42984 | 42984 | 42984 | 42984 | 42984 | 42984 | 42984 | 42984 | 42984 | 42984 | 42984 | 42984 | 42984 | 42984 | 42984 | 42984 | 42984 | 42985 | 42985 | 42985 | 42985 | 42985 | 42985 | 42985 | 42985 | 42985 | 42985 | 42985 | 42985 | 42985 | 42985 | 42985 | 42985 | 42985 | 42985 | 42985 | 42985 | 42985 | 42985 | 42985 | 42985 | 42986 | 42986 | 42986 | 42986 | 42986 | 42986 | 42986 | 42986 | 42986 | 42986 | 42986 | 42986 | 42986 | 42986 | 42986 | 42986 | 42986 | 42986 | 42986 | 42986 | 42986 | 42986 | 42986 | 42986 | 42987 | 42987 | 42987 | 42987 | 42987 | 42987 | 42987 | 42987 | 42987 | 42987 | 42987 | 42987 | 42987 | 42987 | 42987 | 42987 | 42987 | 42987 | 42987 | 42987 | 42987 | 42987 | 42987 | 42987 | 42988 | 42988 | 42988 | 42988 | 42988 | 42988 | 42988 | 42988 | 42988 | 42988 | 42988 | 42988 | 42988 | 42988 | 42988 | 42988 | 42988 | 42988 | 42988 | 42988 | 42988 | 42988 | 42988 | 42988 | 42989 | 42989 | 42989 | 42989 | 42989 | 42989 | 42989 | 42989 | 42989 | 42989 | 42989 | 42989 | 42989 | 42989 | 42989 | 42989 | 42989 | 42989 | 42989 | 42989 | 42989 | 42989 | 42989 | 42989 | 42990 | 42990 | 42990 | 42990 | 42990 | 42990 | 42990 | 42990 | 42990 | 42990 | 42990 | 42990 | 42990 | 42990 | 42990 | 42990 | 42990 | 42990 | 42990 | 42990 | 42990 | 42990 | 42990 | 42990 | 42991 | 42991 | 42991 | 42991 | 42991 | 42991 | 42991 | 42991 | 42991 | 42991 | 42991 | 42991 | 42991 | 42991 | 42991 | 42991 | 42991 | 42991 | 42991 | 42991 | 42991 | 42991 | 42991 | 42991 | 42992 | 42992 | 42992 | 42992 | 42992 | 42992 | 42992 | 42992 | 42992 | 42992 | 42992 | 42992 | 42992 | 42992 | 42992 | 42992 | 42992 | 42992 | 42992 | 42992 | 42992 | 42992 | 42992 | 42992 | 42993 | 42993 | 42993 | 42993 | 42993 | 42993 | 42993 | 42993 | 42993 | 42993 | 42993 | 42993 | 42993 | 42993 | 42993 | 42993 | 42993 | 42993 | 42993 | 42993 | 42993 | 42993 | 42993 | 42993 | 42994 | 42994 | 42994 | 42994 | 42994 | 42994 | 42994 | 42994 | 42994 | 42994 | 42994 | 42994 | 42994 | 42994 | 42994 | 42994 | 42994 | 42994 | 42994 | 42994 | 42994 | 42994 | 42994 | 42994 | 42995 | 42995 | 42995 | 42995 | 42995 | 42995 | 42995 | 42995 | 42995 | 42995 | 42995 | 42995 | 42995 | 42995 | 42995 | 42995 | 42995 | 42995 | 42995 | 42995 | 42995 | 42995 | 42995 | 42995 | 42996 | 42996 | 42996 | 42996 | 42996 | 42996 | 42996 | 42996 | 42996 | 42996 | 42996 | 42996 | 42996 | 42996 | 42996 | 42996 | 42996 | 42996 | 42996 | 42996 | 42996 | 42996 | 42996 | 42996 | 42997 | 42997 | 42997 | 42997 | 42997 | 42997 | 42997 | 42997 | 42997 | 42997 | 42997 | 42997 | 42997 | 42997 | 42997 | 42997 | 42997 | 42997 | 42997 | 42997 | 42997 | 42997 | 42997 | 42997 | 42998 | 42998 | 42998 | 42998 | 42998 | 42998 | 42998 | 42998 | 42998 | 42998 | 42998 | 42998 | 42998 | 42998 | 42998 | 42998 | 42998 | 42998 | 42998 | 42998 | 42998 | 42998 | 42998 | 42998 | 42999 | 42999 | 42999 | 42999 | 42999 | 42999 | 42999 | 42999 | 42999 | 42999 | 42999 | 42999 | 42999 | 42999 | 42999 | 42999 | 42999 | 42999 | 42999 | 42999 | 42999 | 42999 | 42999 | 42999 | 43000 | 43000 | 43000 | 43000 | 43000 | 43000 | 43000 | 43000 | 43000 | 43000 | 43000 | 43000 | 43000 | 43000 | 43000 | 43000 | 43000 | 43000 | 43000 | 43000 | 43000 | 43000 | 43000 | 43000 | 43001 | 43001 | 43001 | 43001 | 43001 | 43001 | 43001 | 43001 | 43001 | 43001 | 43001 | 43001 | 43001 | 43001 | 43001 | 43001 | 43001 | 43001 | 43001 | 43001 | 43001 | 43001 | 43001 | 43001 | 43002 | 43002 | 43002 | 43002 | 43002 | 43002 | 43002 | 43002 | 43002 | 43002 | 43002 | 43002 | 43002 | 43002 | 43002 | 43002 | 43002 | 43002 | 43002 | 43002 | 43002 | 43002 | 43002 | 43002 | 43003 | 43003 | 43003 | 43003 | 43003 | 43003 | 43003 | 43003 | 43003 | 43003 | 43003 | 43003 | 43003 | 43003 | 43003 | 43003 | 43003 | 43003 | 43003 | 43003 | 43003 | 43003 | 43003 | 43003 | 43004 | 43004 | 43004 | 43004 | 43004 | 43004 | 43004 | 43004 | 43004 | 43004 | 43004 | 43004 | 43004 | 43004 | 43004 | 43004 | 43004 | 43004 | 43004 | 43004 | 43004 | 43004 | 43004 | 43004 | 43005 | 43005 | 43005 | 43005 | 43005 | 43005 | 43005 | 43005 | 43005 | 43005 | 43005 | 43005 | 43005 | 43005 | 43005 | 43005 | 43005 | 43005 | 43005 | 43005 | 43005 | 43005 | 43005 | 43005 | 43006 | 43006 | 43006 | 43006 | 43006 | 43006 | 43006 | 43006 | 43006 | 43006 | 43006 | 43006 | 43006 | 43006 | 43006 | 43006 | 43006 | 43006 | 43006 | 43006 | 43006 | 43006 | 43006 | 43006 | 43007 | 43007 | 43007 | 43007 | 43007 | 43007 | 43007 | 43007 | 43007 | 43007 | 43007 | 43007 | 43007 | 43007 | 43007 | 43007 | 43007 | 43007 | 43007 | 43007 | 43007 | 43007 | 43007 | 43007 | 43008 | 43008 | 43008 | 43008 | 43008 | 43008 | 43008 | 43008 | 43008 | 43008 | 43008 | 43008 | 43008 | 43008 | 43008 | 43008 | 43008 | 43008 | 43008 | 43008 | 43008 | 43008 | 43008
Ice Harbor Water Temp | 69.49 | 69.48 | 69.49 | 69.46 | 69.48 | 69.44 | 69.46 | 69.46 | 69.48 | 69.48 | 69.48 | 69.49 | 69.48 | 69.39 | 69.42 | 69.42 | 69.46 | 69.37 | 69.35
Lower Monumental Temp

## Slide 16: Questions?

## Slide 17: Temperature Control Augmentation FY17 Operations Review
US Army Corps of Engineers
BUILDING STRONG®
Stephen Hall, P.E., PMP
Water Management Program Manager, CENWW

## Slide 18
LOWER GRANITE LOCK & DAM
THERMISTER STRING
LGNW
TDG STATION
> 68.0
66.0 - 68.0
65.0 - 66.0
60.0 - 65.0
< 60.0

## Slide 19
LOWER GRANITE LOCK & DAM
DWORSHAK DAM
CLEARWATER AT PECK (PEKI)
LEWISTON AIRPORT WEATHER
SILCOTT ISLAND WEATHER
SNAKE RIVER AT ANATONE (ANAW & ANQW)
SNAKE RIVER BELOW LOWER GRANITE (LNGW)
DATA COLLECTION STATIONS USED IN MODELING
CLEARWATER AT OROFINO (ORFI)

## Slide 20
Chart: 

## Slide 21
Chart: 

## Slide 22
Chart: 

## Slide 23
Chart: 

## Slide 24
Chart: 

## Slide 25
Chart: 

## Slide 26
Chart: 

## Slide 27
Chart: 

## Slide 28
Chart: 

## Slide 29
Chart: 

## Slide 30
Chart: 

## Slide 31
1565.0
QUESTIONS ????