SPILL PRIORITY LIST - September 1 through no later than March 31.

The Spill Priority List defines the project priority order for lack-of-load spill in order to manage TDG on a system-wide basis.

| Level | Priority | Project | Example Spill Cap (kcfs) |
| --- | --- | --- | --- |
| LEVEL 1 State TDG Standard ≤ 110% | 1 | BON | 70 |
|  | 2 | TDA | 45 |
|  | 3 | JDA | 20 |
|  | 4 | MCN | 48 |
|  | 5 | IHR | 25 |
|  | 6 | LMN | 18 |
|  | 7 | LGS | 18 |
|  | 8 | LWG | 20 |
|  | 9 | DWR | 35% of total flow |
|  | 10 | CHJ | 25 |
|  | 11 | GCL | 0 (OT) or 5 (DG) 2 |
| LEVEL 2 ≤ 115% | 12 | BON | 100 |
|  | 13 | TDA | 60 |
|  | 14 | JDA | 80 |
|  | 15 | MCN | 80 |
|  | 16 | IHR | 35 |
|  | 17 | LMN | 23 |
|  | 18 | LGS | 23 |
|  | 19 | LWG | 30 |
|  | 20 | CHJ | 61 |
|  | 21 | GCL | 5 (OT) or 10 (DG) |
| LEVEL 3 ≤ 120% | 22 | BON | 140 |
|  | 23 | TDA | 135 |
|  | 24 | JDA | 144 |
|  | 25 | MCN | 140 |
|  | 26 | IHR | 75 |
|  | 27 | LMN | 44 |
|  | 28 | LGS | 52 |
|  | 29 | LWG | 45 |
|  | 30 | CHJ | 150 |
|  | 31 | GCL | 10 (OT) or 15 (DG) |
| LEVELS 4-7 (125%, 127%, 130%, 135% TDG): same project Priority Order as Levels 2 and 3. |  |  |  |

Sep 1-Mar 31: State TDG standard for all projects is 110%.

GCL spill is either via outlet tubes (OT) or drum gates (DG), depending on reservoir elevation (transition to DG at elevation 1267-1270 ft).  OT spill produces more TDG.