July 2, 2021

TMT Meeting

TMT Coordinated Operation to Implement SOR 2021-3

1.  Lower Granite Dam Spill Change.

EFFECTIVE DAILY FROM JULY 3 THROUGH JULY 31, SPILL AS

DEFINED BELOW:

0900-2300 HOURS: RSW SPILL ONLY (APPROX 7 KCFS)

2300-0900 HOURS: 18 KCFS

2.  Little Goose Dam Spill Change.

EFFECTIVE DAILY FROM JULY 3 THROUGH JULY 31, SPILL AS

DEFINED BELOW:

0900-2300 HOURS: ASW SPILL ONLY (APPROX 7 KCFS)

2300-0900 HOURS: 30% OF OUTFLOW *EXCEPT AS DESCIBED IN THE 2021 FOP

DURING LOW FLOWS (SEE PAGE FOP-20).

3. Juvenile Transportation Change.

Collection for transport at Lower Granite Dam began at 11:00 on 2 July with the first truck departing on 4 July.  Collection for transport at Little Goose Dam began at 07:00 on 4 July with the first truck on 6 July.