Summary of 2022/2023 TMT Coordinated Chum Operations

October 19, 2022, TMT Meeting (Spawning Operation 1).

1. EFFECTIVE TUESDAY, NOVEMBER 1, AT 0600 HOURS, AND UNTIL FURTHER NOTICE, OPERATE THE BONNEVILLE DAM TAILWATER IN THE FOLLOWING ORDER OF OPERATING RANGES AS PROJECT OUTFLOW INCREASES.

2. DURING ALL HOURS, OPERATE PROJECT OUTFLOW TO PROVIDE A TAILWATER ELEVATION IN THE RANGE OF 11.3 - 13.0 FEET.

3. THEN, IF NECESSARY TO INCREASE PROJECT OUTFLOW, THE TAILWATER

MAY BE OPERATED UP TO 16.5 FEET DURING NIGHTTIME HOURS (1700-0600). CONCENTRATE HIGHEST ELEVATIONS AROUND 2400 HOURS.

4. THEN, IF NECESSARY TO INCREASE PROJECT OUTFLOW, THE TAILWATER

MAY BE OPERATED UP TO 18.5 FEET DURING NIGHTTIME HOURS (1700-0600).

5. THEN, IF INCREASING RIVER FLOW PRECLUDES THE ABILITY TO MANAGE THE TAILWATER WITHIN THE STEPS ABOVE, OPERATE TO PROVIDE A TAILWATER IN THE RANGE OF 13.0-16.5 FEET DURING DAYTIME HOURS (0600-1700) AND UP TO THE MAXIMUM WITHIN PROJECT 24-HOUR RAMP RATE LIMITS DURING NIGHTTIME HOURS (1700-0600).

December 14, 2022, TMT Meeting (Incubation Operation 1).

1. EFFECTIVE SATURDAY, DECEMBER 31, 2022, AT 0001 HOURS, UNTIL

FURTHER NOTICE, THE BONNEVILLE DAM MINIMUM TAILWATER ELEVATION

IS 11.8 FEET DURING ALL HOURS.

March 1, 2023, TMT Meeting (Incubation Operation 2).

1. EFFECTIVE THURSDAY, MARCH 2, 2023, AT 0001 HOURS, UNTIL

FURTHER NOTICE, THE BONNEVILLE DAM MINIMUM TAILWATER ELEVATION

IS 10.2 FEET DURING ALL HOURS.

2. IF UNABLE TO MAINTAIN A MINIMIMUM TAILWATER OF 10.2 FEET WITH

THE AVAILABLE WATER ON ANY DAY, OPERATE TO THE HIGHEST FLAT DISCHARGE POSSIBLE.