# Fish Passage Plan (FPP) Change Request Form

Change Form # & Title: 	17JDA003 – Off-Season Unit Operating Range

Date Submitted:		January 26, 2017

Project:			JDA

Requester Name, Agency:	Corps RCC

Final Action:			APPROVED 1/26/2017

FPP Section:	JDA 5.2.1 – Turbine Unit Operating Range.

Justification for Change:  The current language is not consistent with language in Appendix C - Turbine Operations, section 3.3.1 Off-Season (November 1 to March 31).  The proposed change will remove confusion and clarify as to which Fish Passage Plan section has priority over the other.

Proposed Change:

- 5.2.1. From April 1 through October 31, turbine units will be operated within ±1% of peak turbine efficiency (1% range), as specified in the BPA Load Shaping Guidelines (Appendix C). Turbine unit flow and power output at the lower and upper limits of the 1% range for various heads are defined in Table JDA-7. While not required to do so in the off-season, turbines will normally run within the 1% range since it is the optimum point for maximizing energy output of a given unit of water over time. Operation outside the 1% range is allowed if needed for power generation or other needs.

Comments:

1/26/2017 FPOM FPP Meeting: This language was approved for NWW projects. FPOM requested adding to NWP projects, too.

Record of Final Action:  APPROVED as requested for NWP projects 1/26/2017