# Fish Passage Plan (FPP) Change Request Form

Change Form # & Title:	17LGS003 – Turbine Unit Operating Range

Date Submitted:		15 December 2016

Project:			Little Goose

Requester Name, Agency:	John Bailey, Corps, NWW

Final Action:			APPROVED 1/26/2017

FPP Section:  LGS 4.2.2. Turbine Unit Operating Range – Off Season.

Justification for Change:

The current language in section LGS 4.2.2 is not consistent with language in Appendix C - Turbine Operations section 3.3.1 Off Season (November 1 to March 31).  The proposed change will remove confusion and clarify as to which Fish Passage Plan section has priority over the other.

Proposed Change:

  - Turbine Unit Operating Range.

4.2.2. Off-Season (November 1–March 31).   While not required to do so in the off-season, turbines will normally run within the 1% range since it is the optimum point for maximizing energy output of a given unit of water over time. Operation outside the 1% range is allowed if needed for power generation or other needs.

Comments:

1/26/2017 FPOM FPP: Also add to NWP projects.

Record of Final Action:  Approved at FPOM FPP 1/26/2017