# Fish Passage Plan (FPP) Change Request Form

Change Form # & Title:	17LWG006 – RSW Operation during Low Flows

Date Submitted:		January 4, 2017

Project:			Lower Granite

Requester Name, Agency:	Corps RCC

Final Action:			APPROVED 1/26/2017

FPP SECTION:

LWG 2.3.2.6.v (Juvenile Facilities – Fish Passage Season – RSW)

JUSTIFICATION:

The 2016 FPP has criteria for closing the RSW during low flows below 30 kcfs but does not have instructions for re-opening the RSW if flows increase above 30 kcfs.  These instructions need to be in the 2017 FPP to provide clarification.

PROPOSED CHANGES:

2.3.2.7. Removable Spillway Weir (RSW).

v.  On or after June 21 (start of summer spill), when average daily total project outflow is less than 30 kcfs and forecasted to remain below 30 kcfs for three or more days on a declining hydrograph, the RSW will be closed and spill will be distributed in patterns for spill with no RSW in Table LWG-9.  The RSW will be re-opened if average daily total project outflow increases above 30 kcfs and is forecasted to remain above 30 kcfs for three or more days (NWRFC inflow forecast for Lower Granite Dam at:  www.nwrfc.noaa.gov/river/station/flowplot/flowplot.cgi?LGDW1).

COMMENTS:

1/26/2017 FPOM FPP: Approved w/ caveat that criteria may change based on review of depth-distribution data if there are findings that point to a better time to close the surface weirs. Lorz noted that if data indicate juveniles are migrating deeper at certain times, then it would be more beneficial to pass that water through deep spill.

RECORD OF FINAL ACTION:  	APPROVED at FPOM FPP 1/26/2017