# Fish Passage Plan (FPP) Change Request Form

Change Form # & Title:	17TDA004 – March Sluiceway Operation Turbine Priority

Date Submitted:		March 9, 2017

Project:			TDA

Requester Name, Agency:	Bob Cordie, The Dalles Fisheries

Final Action:			APPROVED March 9, 2017

FPP Section:

TDA 5.1.1. Table TDA-5. Unit Priorities. (March 1–31, December 1–15)

JUSTIFICATION:

Leftover unit priority from previous years Fish Passage Plans. Operating units are only needed under open sluicegates. Open sluicegates are only at unit 1 and 18 Mar 1-31 and Dec 1-15. Section 2.4.2.9 and Table TDA-4 already state this requirement.

PROPOSED CHANGE: (edits to existing FPP text shown in “track changes”)

Table TDA-5.  Turbine Unit Operating Priorities at The Dalles Dam.

| PERIOD | PRIORITY |
| --- | --- |
| Fish Passage Season: April 1–November 30 | 1, 8, 18* |
| If additional units needed, operate one unit from each block moving west to east. Repeat as necessary. | block 2-4, block 5-7, block 9-12, block 13-16, block 17-22 |
| December 1 – December 15 | 1 and/or 18† |
| December 16 – end of February | 1-22 in any order |
| March 1 – March 31 | 1 and/or 18† |

*April-November (fish passage season): Units under open sluice gates 1, 8, 18 (Table TDA-4).

† March and December operation for adult fallbacks and kelt passage: Units 1 and 18 must be operated with two open sluice gates per unit (Table TDA-4).

COMMENTS:

RECORD OF FINAL ACTION:  APPROVED at FPOM 3/9/17