# Fish Passage Plan (FPP) Change Request Form

Change Form # & Title:	17TDA005 –Sluiceway Operation during Involuntary Spill

Date Submitted:		March 9, 2017

Project:			TDA

Requester Name, Agency:	Bob Cordie, The Dalles Fisheries

Final Action:			APPROVED as Revised Mach 9, 2017

FPP SECTION:  TDA 2.2.2. Spill Management.

JUSTIFICATION:  No specification as to how many gates.

PROPOSED CHANGE: (edits to existing FPP text shown in “track changes”)

- 2.2.2. During spill that occurs December 16 through the end of February, the Ice & Trash Sluiceway (ITS) will be operated if available to provide a surface passage route.  Operate 3 gates on Unit 1 and 3 gates on Unit 18.

Table TDA-4.  The Dalles Dam Ice & Trash Sluiceway (ITS) Schedule of Operations.

| DATES | SLUICEWAY OPERATION (24 hrs/day) | PURPOSE | FPP Section |
| --- | --- | --- | --- |
| March 1–31; December 1–15 | OPEN End gate OPEN Sluice gates 1-2, 1-3 / 18-1, 18-2 | Adult fallback; kelt passage | 2.4.1.6; 2.4.2.9 |
| April 1– November 30 | OPEN End gate OPEN Sluice gates 1-1, 1-2, 1-3 / 8-2, 8-3 / 18-2 | Juvenile passage | 2.3.2.5 |
| *December 16– end of February | *CLOSE End gate OPEN Sluice gates 1-1 / 18-3 | *No passage; allows egress when equalized w/forebay | 2.3.1.6, 2.4.1.6 |

- *Except during periods of spill when the ITS will be operated if available, as defined in section 2.2.2 (3 gates on Unit 1 and 3 gates on Unit 18).

COMMENTS:

3/9/17: FPOM requested also adding this info to Table TDA-4.

RECORD OF FINAL ACTION:  APPROVED as revised at FPOM 3/9/17