# Fish Passage Plan (FPP) Change Request Form

Change Form # & Title:	18OVE002 – Dates for FPP Spill Patterns

Date Submitted:		January 25, 2018

Project:			All

Requester Name, Agency:	Lisa Wright, Corps RCC

Final Action:			APPROVED 2/8/18

FPP SECTION:  Chapter 1 – Overview. Section 1.4. Spill for Juvenile Fish Passage.

JUSTIFICATION:  Clarifies that spring and summer spill for fish passage will follow FPP spill patterns. During the rest of the year, if spill is necessary, projects will typically use the FPP patterns but may modify if necessary for maintenance (e.g., spillbay outage), construction, installation of research equipment, testing, navigation, etc.

PROPOSED CHANGES:  [edits to existing FPP text in track changes]

- 1.4. 	Spill for Juvenile Fish Passage

- 1.4.1. Planned yearly spring and summer spill operations for juvenile fish passage at the eight lower Snake and lower Columbia River projects are defined in the Fish Operations Plan (FOP), included in the FPP as Appendix E. Spill operations to improve juvenile fish passage are defined in the 2014 NOAA Fisheries Supplemental FCRPS BiOp RPA Action 29 and Table 2.

- 1.4.2. During spring and summer spill for fish passage, spill at each project will be distributed across the spillway as defined in patterns in the project-specific FPP Chapters 2-9, unless otherwise coordinated with FPOM or TMT. If spill occurs outside of spring and summer spill season, projects will typically use the FPP patterns but may modify patterns as necessary to accommodate maintenance, research, navigation, or other constraints.

- COMMENTS:

2/8/18 FPOM: FPOM requested adding clarification that outside of spill season, projects will typically use the FPP patterns but may modify if necessary.

2/8/18 Erick VanDyke via email: Recommend replacing FPOM with RIOG. “The process in 2018 is related to an injunction order that sets operational expectations to maximize gas cap spill operations that meet without exceeding the kcfs needed to do that. In season adjustments will involve a conferral process that may involve more than FPOM.”

2/12/18 Corps: In-season adjustments occur through FPOM or TMT, consistent with the FOP. If either forum can’t resolve the issue, it may be elevated to RIOG as part of the existing guidelines and dispute resolution process. Revised the sentence to add “…or TMT.”

RECORD OF FINAL ACTION:  	 APPROVED as revised.