# Fish Passage Plan (FPP) Change Request Form

Change Form # & Title:	18TDA002 - PUD Outage Time Clarification

Date Submitted:		4/26/18

Project:			The Dalles Dam – N Wasco Co PUD

Requester Name, Agency:	Bob Cordie, COE

Final Action:			APPROVED 6/14/18

FPP Section:  TDA section 1.2.1. Adult Fish Facilities, and section 4.3.2.1. Adult Fish Facilities Non-Routine Maintenance – Fishway Auxiliary Water Systems.

Justification for Change: Present language only states a bypass is available, but does not specify when scheduled PUD turbine outage is acceptable.

Proposed Change: [see below with edits to existing FPP in track changes]

1.2.1. Adult Fish Facilities.

1.2.1.2. North Wasco PUD operates a small hydropower facility constructed in 1991 that utilizes the north fishway ladder auxiliary water supply. Adult fishway criteria associated with this facility are monitored and maintained during daily fishway inspections. A backup auxiliary water supply system has been upgraded to facilitate its use if needed. The backup system is the originally constructed water supply to the north fish ladder and does not provide juvenile screening. Survival through this system is unknown.

- 4.3.2. Non-Routine Maintenance - Adult Fish Facilities.

- 4.3.2.1 Fishway Auxiliary Water Systems.

c. North Ladder. If the North Wasco County power unit auxiliary water system fails, the backup auxiliary water system will be started and the system operated to maintain north fish ladder entrance criteria. Scheduled unit outages will be within October 1 through March 15. If the backup auxiliary water system fails, N1 will remain open with a weir depth of 6' below the tailwater surface.

Comments:

Record of Final Action:  Approved at FPOM 6/14/18