# Fish Passage Plan (FPP) Change Request Form

Change Form # & Title:	19BON004 – Day/Night Hours

Date Submitted: 		5/22/19

Project: 			BON

Requester Name, Agency:	Scott Bettin, BPA

Final Action:			APPROVED – 7/11/2019

FPP Section:  Table BON-5. Day/Night Spill Schedule.

Justification for Change:  Definition of day/night hours are only in Pacific Standard Time and not adjusted forward one hour during Daylight Saving Time (DST).  This results in starting one hour early during day spill for adult attraction that occurs outside of spill season when DST is in effect (Sep 1 through early Nov and mid-March through April 9). Adjusting forward one hour for DST is more closely aligned with actual hours of daylight.

Proposed Change: [see below with edits to existing FPP in track changes]

Table BON-5. Day/Night Spill Schedule for Bonneville Dam.

| Date Range | Day Start Hour | Day End Hour | Night Start Hour a | Night End Hour |
| --- | --- | --- | --- | --- |
| Jan 1-19 | 0700 | 1730 | 1730 | 0700 |
| Jan 20 – Feb 14 | 0630 | 1800 | 1800 | 0630 |
| Feb 15 – Mar 1 | 0600 | 1830 | 1830 | 0600 |
| Mar 2 – Start DSTb | 0600 | 1930 | 1930 | 0600 |
| Start DSTb – Apr 2 | 0700 | 2030 | 2030 | 0700 |
| Apr 3-20 | 0600 | 2130 | 2130 | 0600 |
| Apr 21 – May 16 | 0600 | 2200 | 2200 | 0500 |
| May 17-31 | 0530 | 2230 | 2230 | 0530 |
| Jun 1-30 | 0530 | 2230 | 2230 | 0530 |
| Jul 1-31 | 0530 | 2300 | 2300 | 0530 |
| Aug 1-15 | 0600 | 2245 | 2245 | 0600 |
| Aug 16-31 | 0600 | 2130 | 2130 | 0600 |
| Sep 1-16 | 0630 | 2100 | 2100 | 0630 |
| Sep 17 – Oct 4 | 0700 | 2030 | 2030 | 0700 |
| Oct 5-19 | 0730 | 2000 | 2000 | 0730 |
| Oct 20-29 | 0730 | 1930 | 1930 | 0730 |
| Oct 30 – End DSTb | 0730 | 1800 | 1800 | 0730 |
| End DSTb – Dec 31 | 0630 | 1700 | 1700 | 0630 |

- a. Transition to Night spill begins 15-20 minutes before the Night Start Hour.

- b. DST = Daylight Saving Time, in effect from the second Sunday in March through the first Sunday in November.

Comments:

Record of Final Action:  Approved at FPOM 7/11/2019