# Fish Passage Plan (FPP) Change Request Form

Change Form # & Title:	19LWG004 – Fishway Temperature Reporting to FPC

Date Submitted:		January 24, 2019

Project:			Lower Granite Dam

Requester Name, Agency:	A. Setter, Corps

Final Action:			APPROVED – 2/7/2019

FPP Section:  Lower Granite, section 2.4.2.15. – Adult Facilities, Fish Passage Season, Fishway Temperature Monitoring

Justification for Change:   Data no longer available due to installation of newer technology with automated reporting. Remove this language since an automated reporting station is now functional and FPC can download the data directly.

Proposed Change: [see below with edits to existing FPP in track changes]

- 2.4.2.15. Fishway Temperature Monitoring. From June 1 through September 30, water temperature will be monitored at adult fishway entrances and exits.

            - Temperature monitors shall be placed within 10 meters of all shore-oriented entrances and exits.

            - If possible, the entrance monitor shall be within 1 meter above the ladder floor and at least 10 meters downstream of ladder diffusers to allow for sufficient mixing with surface water.

            - The exit monitor shall be within 1 meter above the ladder floor and above all diffusers to allow for sufficient mixing with surface water.

            - If an existing temperature monitoring location is proposed to be used for either the exit or entrance, it shall be verified that the site accurately reflects water temperature within 10 meters of the entrance or exit.

            - Fish Passage Center (FPC) will post the data online on a weekly basis at: www.fpc.org/river/Q_ladderwatertempgraph.php

Comments:

2/7/19 FPP Meeting: revised to clarify that FPC will still be posting data on the website.

Record of Final Action:  Approved as revised at the FPOM FPP meeting on 2/7/2019.