# Fish Passage Plan (FPP) Change Request Form

Change Form # & Title:	19TDA001 – AWS Backup

Date Submitted:		12/31/2018

Project:			TDA

Requester Name, Agency:	Bob Cordie, USACE

Final Action:			Approved – 2/7/2019

FPP Section: page TDA-7 1.2. (add section between 1.2.1.1. and 1.2.1.2.)

Justification for Change:

Newly constructed East fishway AWS backup system available

Proposed Change: [see below with edits to existing FPP in track changes]

- 1.2. 	Adult Fish

- 1.2.1. Adult Fish Passage Facilities.

- 1.2.1.1. Adult passage facilities at The Dalles Dam consist of a north shore ladder that passes fish collected at the north end of the spillway, and an east ladder that passes fish collected at the south end of the spillway and across the downstream face of the powerhouse. Annual maintenance of adult facilities is scheduled during the winter maintenance period (December through February) to minimize impacts on upstream migrants. One ladder is dewatered at a time unless otherwise coordinated through FPOM.

1.2.1.2. The east fishway auxiliary water is provided by 2 fish turbine units providing 4,700 – 5,000cfs. A backup auxiliary water supply, unscreened for juveniles, can provide 1,500cfs if needed.

1.2.1.3. North Wasco PUD operates a small hydropower facility constructed in 1991 that utilizes the north fishway ladder auxiliary water supply. Adult fishway criteria associated with this facility are monitored and maintained during daily fishway inspections. A backup auxiliary water supply system has been upgraded to facilitate its use if needed. The backup system is the originally-constructed water supply to the north fish ladder and does not provide juvenile screening. Survival through this system is unknown

Comments:

Record of Final Action:  Approved at the FPOM FPP meeting on 2/7/2019.