# Fish Passage Plan (FPP) Change Request Form

Change Form # & Title:	20AppA001 – Doble Test Schedule for 2020

Date Submitted: 		27-December-2019

Project: 			Lower Snake Projects

Requester Name, Agency:	Corps NWW

Final Action:			APPROVED 1/23/2020

FPP Section:

Appendix A – Special Project Operations and Studies

Justification for Change:

Adds the 2020 Doble test schedule at the lower Snake River projects, as currently scheduled. In-season changes will continue to be coordinated with FPOM via MOC.

Proposed Change: See next page for edits to existing FPP text in “track changes”.

Comments:

1/23/2020 FPOM FPP Meeting:

Wright re-affirmed that these are the outage dates as currently known and any changes will be coordinated in-season via MOC. FPOM was in support of moving McNary to the footnote with the other lower Columbia projects. The need for defining the outages at the Snake projects is because it significantly reduces powerhouse capacity due to only having one or two lines into the project.  The lower Columbia projects have multiple lines and the Doble outage doesn’t impact spill.

Record of Final Action:  Approved at the FPOM FPP meeting 1/23/2020.

- Proposed Change:

- 1.5. 	Doble Testing

Transformers at the lower Snake River projects are required to undergo Doble testing1 every three years to ensure they are functioning correctly and identify any issues that need repair. The testing must be conducted during warm, dry conditions (July–August) and requires an outage of the transformer and associated units. Testing is performed during already scheduled outages to the extent possible and timed to avoid or minimize impacts to fish. In years that Doble testing isn’t required, the project may still require an outage during the same timeframe to perform necessary transformer maintenance and repairs that were identified in previous Doble tests.

The schedule for the current year is defined below in Table A-1. For more information, refer to the project-specific sections below and FPP Chapters 2-8.

- Table A-1. Doble Testing Schedule in 2020.a

| Project | Dates | Outage (Transformer & Units) | Notes b |
| --- | --- | --- | --- |
| IHR | July 20–26 | TW3 (Unit 3) and TW4 (Unit 4) all hours | Remaining available units operated per FPP priority order. |
| LMN | July 27–31 | T1 (Units 1–4) all hours; T2 (Units 5, 6) daily 0600–1800 | All units OOS daily 0600–1800 with Unit 5 at speed no load (5 kcfs) for station service. Units 5 & 6 RTS nightly 1800–0600 and operated per FPP priority order. |
| LGS | July 27 – August 6 | T2 (Units 5, 6) all hours; T1 (Units 1–4) 0500–1700 on first/last day (Jul 27 and Aug 6) | All units OOS Jul 27 and Aug 6 from 0500–1700 with Unit 4 at speed no load (5 kcfs) for station service. During all other hours, Units 1–4 operated per FPP priority order. |
| LWG | Aug 3–14 | T1 (Units 1-4) all hours; T2 (Units 5-6) Aug 3-6 daily 0600-1900 and Aug 14 1600-1900 | All units OOS Aug 3–6 daily from 0600–1900 and Aug 14 from 1600–1900 with Unit 5 at speed no load (5 kcfs) for station service. During all other hours, Units 5–6 operated per FPP priority order. |
| MCN | Aug 31–Sep 11 | T3 (Units 5, 6) all hours | Remaining available units operated per FPP priority. |

a. The lower Columbia projects (BON, TDA, JDA, MCN) have no specific outage for Doble tests and testing is done concurrent with outages for maintenance.

b. OOS = Out of Service (unavailable to operate); RTS = Return to Service (available to operate).

“Doble test” is a common term referring to a power factor test of transformers to measure performance of electrical insulation. Doble is the name of a manufacturer of the test equipment.