# Fish Passage Plan (FPP) Change Request Form

Change Form # & Title:	20AppA002 – Spill for Steelhead Overshoots Fall 2020

Date Submitted: 		3-September-2020

Project: 			MCN, IHR, LMN, LGS, LWG

Requester Name, Agency:	Trevor Conder, NOAA

Final Action:			APPROVED – September 10, 2020

FPP Section:  Appendix A – Special Project Operations and Studies

Justification for Change:  Add the fall 2020 spill for steelhead overshoots at McNary and the lower Snake projects. This operation is pursuant to terms and conditions in the 2020 NOAA Fisheries BiOp.

Proposed Change: See next page for proposed edits in track changes.

Comments:

Coordinated at FPOM on 9/10/20 – see minutes for a summary of the discussion.

Record of Final Action:

Approved at FPOM 9/10/20 with the revision of MCN start date from Sept 14 to Sept 15.

Proposed Change:

Add new section to Introduction (section 1) and MCN, IHR, LMN, LGS, LWG (sections 5-9):

- 1.6. Spill for Adult Steelhead Overshoots

In 2020, off-season surface spill will be implemented at McNary Dam and the four lower Snake River dams as a means of providing safe and effective downstream passage for adult Mid-Columbia River and Snake River steelhead that overshoot and then migrate back downstream through the dams during months when there is no spill for juvenile fish passage. This operation is pursuant to non-discretionary terms and conditions in the Incidental Take Statement of the 2020 NOAA Fisheries Columbia River System (CRS) Biological Opinion, issued July 24, 2020 (see section 2.17.4.G, “Reduce Take of Overshoot Adult Steelhead”, on pages 1399-1400 of the document, available online at:

https://www.fisheries.noaa.gov/webdam/download/109136871)

At McNary Dam, surface spill will occur via the spillway weir from September 15, 2020, through November 15, 2020, three times each week on non-consecutive days for four hours in the morning (between 05:00 and 11:00). The spill schedule will be designed to achieve the objectives of the steelhead overshoot study as a continuation of research conducted in 2019 and 2020 (see MCN section 5.2.1 below).

At the four lower Snake River dams, surface spill will occur via the spillway weir from October 1, 2020, through November 15, 2020, at least three times each week on non-consecutive days for four hours in the morning (between 05:00 and 11:00). During spill at Little Goose, the adjustable spillway weir will be operated in the high crest position.

- 5.2. MCN Studies

- 5.2.1. Study of Adult Steelhead Fallback (Overshoots) through the Spillway Weir.

- Dates: Spring 2020 and Fall 2020.

- Description: In spring 2020, the objectives of this study are to:

- Estimate the seasonal duration of spring spill for steelhead overshoots;

- Estimate weekly timing and duration of spring spill for steelhead overshoots;

- Determine if spring spill at McNary Dam has unintended consequences for overwintering upstream stocks of steelhead.

In fall 2020, from September 15 until November 15, surface spill will occur via the spillway weir three times each week on non-consecutive days for four hours in the morning (between 05:00 and 11:00). The spill schedule will be designed to achieve the objectives of the steelhead overshoot study. This operation is pursuant to terms and conditions in the 2020 NOAA CRS BiOp – for more information, see section 1.6 above.

- Impacts to FPP Criteria: To be determined. Any modification to or deviation from FPP criteria will be coordinated with FPOM.

- 6.1. IHR Special Operations

- 6.1.5. Spill for Steelhead Overshoots (see section 1.6 above for more information).

- Dates: Fall 2020 (October 1 – November 15)

- Description: At the four lower Snake River dams, surface spill will occur via the spillway weir from October 1, 2020, through November 15, 2020, at least three times each week on non-consecutive days for four hours in the morning (between 05:00 and 11:00).

- Impacts to FPP Criteria: None. This operation is pursuant to terms and conditions in the 2020 NOAA CRS BiOp – for more information, see section 1.6 above.

- 7.1. LMN Special Operations

- 7.1.5. Spill for Steelhead Overshoots (see section 1.6 above for more information).

- Dates: Fall 2020 (October 1 – November 15)

- Description: At the four lower Snake River dams, surface spill will occur via the spillway weir from October 1, 2020, through November 15, 2020, at least three times each week on non-consecutive days for four hours in the morning (between 05:00 and 11:00).

- Impacts to FPP Criteria: None. This operation is pursuant to terms and conditions in the 2020 NOAA CRS BiOp – for more information, see section 1.6 above.

- 8.1. LGS Special Operations

- 8.1.4. Spill for Steelhead Overshoots (see section 1.6 above for more information).

- Dates: Fall 2020 (October 1 – November 15)

- Description: At the four lower Snake River dams, surface spill will occur via the spillway weir from October 1, 2020, through November 15, 2020, at least three times each week on non-consecutive days for four hours in the morning (between 05:00 and 11:00).

- At Little Goose, the adjustable spillway weir (ASW) will be operated in high crest position.

- Impacts to FPP Criteria: None. This operation is pursuant to terms and conditions in the 2020 NOAA CRS BiOp – for more information, see section 1.6 above.

- 9.1. LWG Special Operations

- 9.1.5. Spill for Steelhead Overshoots (see section 1.6 above for more information).

- Dates: Fall 2020 (October 1 – November 15)

- Description: At the four lower Snake River dams, surface spill will occur via the spillway weir from October 1, 2020, through November 15, 2020, at least three times each week on non-consecutive days for four hours in the morning (between 05:00 and 11:00).

- Impacts to FPP Criteria: None. This operation is pursuant to terms and conditions in the 2020 NOAA CRS BiOp – for more information, see section 1.6 above.