# Fish Passage Plan (FPP) Change Request Form

Change Form # & Title:	20BON002 – PH2 Mid-Range

Date Submitted:		1/16/2020

Project:			BON

Requester Name, Agency:	Scott Bettin, BPA

Final Action:			APPROVED 13-FEB-2020

FPP Section: BON 5.2.1.2 – Turbine Operating Range / In-Season (April 1 – October 31)

Justification for Change:

During spring spill when the “juvenile trigger” is in effect, constraining PH2 units to the 1% mid-range reduces PH2 capacity by about 3 kcfs/unit (total reduction of 24 kcfs if all 8 units available). This constraint results in spilling more than 150 kcfs and causing erosion in the spillway stilling basin when total project outflow is above approximately 392 kcfs (see flow summary below).

To minimize spillway erosion, PH2 units could be operated above the mid-range to the upper 1% instead of spilling more than 150 kcfs. This would avoid causing erosion in the stilling basin until total project outflow increases above approximately 416 kcfs.

|  | Approx Capacity (assuming all units available) |  |
| --- | --- | --- |
| Spill limit for erosion | 150 kcfs |  |
| Misc flow (corner collector, ladders, etc) | 12 kcfs |  |
| PH1 BOP (10 units) | 110 kcfs |  |
| PH2 (8 units) | Mid-Range: 120 kcfs | Upper 1%: 144 kcfs |
| TOTAL CAPACITY (higher flows = spill > 150k) | 392 kcfs | 416 kcfs |

Proposed Change: See following page for edits in red text.

- Proposed Change:

- 5.2.	Turbine Operating Range

- 5.2.1. Lower and upper limits of the turbine unit operating ranges at PH1 and PH2 are defined in Table BON-15.

- 5.2.2. In-Season (April 1–October 31). As defined in BPA’s Load Shaping Guidelines in Appendix C, turbine units will be operated within ±1% of peak efficiency (1% range) to minimize fish impacts, unless otherwise coordinated. At Bonneville Dam, PH1 units may be operated up to the Best Operating Point (BOP) and PH2 units will be operated in accordance with the following criteria:

- 5.2.2.1. From April 10 through June 15 (FOP spring spill), as a soft constraint, PH2 units should not be operated below the 1% mid-range (< 13 kcfs) to minimize turbulence for turbine-passed fish.

- 5.2.2.2. Until gatewell structural modifications are completed, PH2 units will be operated in the 1% mid-range (13–15 kcfs) from April 1 through July 31 in order to minimize turbulence for bypassed fish. RCC will issue a teletype with any in-season modifications as construction and testing is completed.

- Additional flow that is above project hydraulic capacity (PH2 mid-range, PH1 BOP, FOP spill, and flow through corner collector, ladders, etc.) will be passed in the following sequential order with increasing levels of flow (also see summary in Table BON-14), or as otherwise determined by Project Fisheries based on observed conditions:

  - April 1–9 Pre-Spring Spill and June 16 – July 31 Summer Spill:

    - Increase PH2 units up to the 1% upper limit;

    - Then, increase spill.

  - April 10 – June 15 Spring Spill w/ Juvenile Trigger: When juvenile spring Chinook collection counts are greater than adult spring Chinook total passage counts (excluding jacks) for at least three consecutive days, Project Fisheries will notify the control room to pass additional flow as follows:

    - Maintain PH2 units within the mid-range and increase spill up to a maximum of 150 kcfs to avoid causing erosion in the spillway stilling basin. This applies to both Performance Standard spill (100 kcfs) and Gas Cap spill. DO NOT SHAPE TO ONLY APPLY TO HOURS OF GAS CAP SPILL;

    - Then, increase PH2 units up to the 1% upper limit in order from south to north (Unit 11 to Unit 18) – NOTIFY FPOM ASAP (within 3 work days) and include in the Weekly Report;

    - Then, increase spill above 150 kcfs, up to 180 kcfs.

    - Then, increase spill above 180 kcfs and resume operating PH2 units within the mid-range. PH2 UNITS MAY ONLY BE OPERATED ABOVE THE MID-RANGE WHEN SPILL IS GREATER THAN OR EQUAL TO 150 KCFS, UP TO A MAXIMUM OF 180 KCFS.

  - April 10 – June 15 (FOP Spring Spill) w/ Adult Trigger: when adult spring Chinook total passage counts1 (excluding jacks) are greater than juvenile spring Chinook collection counts2 for two consecutive days, Project Fisheries will notify the control room to pass additional flow as follows:

    - Increase PH2 units up to the 1% upper limit in order from north to south (Unit 18 to Unit 11);

    - Then, increase spill.

Table BON-14. Sequential Steps for Passing Increasing Levels of Flow, per Modified PH2 Operating Range Guidelines (section 5.2.2.2).

| April 1 – 9 | - PH2 Mid-Range, PH1 BOP; |
| --- | --- |
| Pre-FOP Spill | - Then, increase PH2 > Mid-Range up to 1% Upper Limit; |
|  | - Then, increase spill. |
| April 10 – June 15 | JUVENILE TRIGGER |
| FOP Spring Spill | - FOP Spring Spill, PH2 Mid-Range, PH1 BOP; |
|  | - Then, increase spill > FOP up to 150 kcfs. This applies to both Spring Spill operations (Performance Standard 100 kcfs and Gas Cap). DO NOT SHAPE TO ONLY APPLY TO HOURS OF GAS CAP SPILL; |
|  | - Then, increase PH2 > Mid-Range up to 1% Upper Limit (south to north) and NOTIFY FPOM as soon as possible; |
|  | - Then, increase spill > 150 kcfs up to 180 kcfs; |
|  | - Then, increase spill > 180 kcfs and resume PH2 Mid-Range. |
|  | ADULT TRIGGER |
|  | - FOP Spring Spill, PH2 Mid-Range, PH1 BOP; |
|  | - Then, increase PH2 > Mid-Range up to 1% Upper Limit (north to south); |
|  | - Then, increase spill > FOP. |
| June 16 – July 31 | - FOP Summer Spill, PH2 Mid-Range, PH1 BOP; |
| FOP Summer Spill | - Then, increase PH2 > Mid-Range up to 1% Upper Limit; |
|  | - Then, increase spill > FOP. |
| August 1 – 31* FOP Summer Spill | - FOP Summer Spill, PH2 full 1% (*see footnote), PH1 BOP - Then, increase spill > FOP. |

- *Starting August 1, PH2 units may be operated within the full 1% range to provide flexibility during lower flows. During this time period, PH2 units will typically be within the mid-range but may be adjusted through the full 1% range as necessary to avoid dead-band issues during lower flows. PH2 operations above the mid-range will be infrequent, consistent with previous years.

Comments:

1/23/2020 FPOM FPP Meeting:

Lorz and Conder understand the need to protect the spillway but are concerned with impacts to juveniles by operating PH2 above the mid-range. They want to go back to PH2 mid-range at higher flows when spill is already well above 150 kcfs and asked that FPOM be notified if PH2 units go above the mid-range for spill management. Bellerud and Morrill concurred.

Van Dyke questioned the 150 kcfs limit for erosion and was concerned this was a power benefit by reducing fish protection measures. Lorz and others responded that the 150 kcfs limit was established after ERDC modeling and has been regionally agreed to in the Flex Spill Agreement. Bettin added that the intent is to protect the spillway. Loads are typically light during high flows and they might need to find load so it’s not a power benefit.

Assuming all 8 units are available, there would be 24 kcfs that could be pushed through PH2 instead of the spillway. After extensive discussion, additional criteria were defined to go back to the PH2 mid-range if involuntary spill increases above 180 kcfs, as well as adding FPOM notification as soon as possible and no later than 3 business days.

There are still concerns with timing and impacts to Spring Creek releases, as well as how it would play out with the 16 hours of gas cap spill and 8 hours of performance standard 100 kcfs. FPOM needed more time to consider the complexities of the operation and try to come up with something that is implementable.

2/13/2020 FPOM FPP Meeting:

Laurie Ebner reported on the condition of the spillway and the critical importance of the 150 kcfs spill limit. FPOM worked on the language to clearly spell out that operating above the PH2 mid-range is only intended for implementation during involuntary spill above 150 kcfs, up to a maximum of 180 kcfs, and isn’t to be used to shape flow around the flex spill operation.

Record of Final Action:  Approved as edited at the FPOM meeting on 13-FEB-2020.

Juvenile Spring Chinook, reported as “CollCount” in the SMP Smolt Data. Query current year, BO2, Combined Chinook Yearling, online at: www.fpc.org/smolt/smolt_queries/Q_smolt_dailypassageindex_query.php

Adult Spring Chinook, reported as “Adult Chinook daily” in the Corps’ Adult Fish Count Running Sum Report for Bonneville Dam, online at: www.fpc.org/environment/home.asp