# Fish Passage Plan (FPP) Change Request Form

Change Form # & Title:	20LWG001 – March 1 Start

Date Submitted: 		16-December-2019

Project: 			LWG

Requester Name, Agency:	Lisa Wright, Corps RCC

Final Action:			APPROVED 1/23/2020

FPP Section:

Chapter 9 – Lower Granite Dam – various sections related to bypass start date.

Justification for Change:

Adds language for the March 1 start of Lower Granite JBS operations in 2020.

Proposed Change:

See following pages for edits to existing FPP in track changes.

Comments:

Record of Final Action:  Approved at the FPOM FPP meeting 1/23/2020.

    - Juvenile Fish Facilities - Winter Maintenance Period (December 16– March 24*).

- *In 2020, the bypass system will begin operations March 1, as described below.

2.3.1.1. Forebay Area and Intakes.

            - Remove debris from forebay and gatewell slots.

            - Rake trashracks just prior to the operating season.

            - Measure gatewell drawdown after cleaning trashracks and with ESBSs installed.

            - Inspect and repair gatewell; dip net as needed.

2.3.1.2. ESBS, Flow Vanes, and VBS. *In 2020, install screens by March 1 in at least the first three operational units in the priority order (Table LWG-5).

            - After ESBSs are removed for winter maintenance, inspect for juvenile salmonid mortalities and all other incidental fish mortalities. Inspect ESBSs within a week after removal, or as soon as practical. All mortalities are to be counted, or otherwise estimated, for each ESBS and reported to CENWW-OD-T.

            - Maintenance completed on all screens.

            - Inspect ESBSs prior to installation and operate debris cleaner (dogged off on deck) to ensure proper operation.

            - Log results of trial run.

            - Inspect VBSs with underwater video camera at least 1x/year; repair as needed.

            - Inspect flow vanes to make sure they are in good condition and all surfaces smooth. Repair as needed.

            - ESBSs installed in at least 4 turbine units (all 6 if possible) by March 24. Remaining ESBSs installed prior to April 1. *In 2020, screens will be installed in at least the first three available priority units by March 1.

2.3.1.3. Collection Channel.

            - Make-up water valves and control equipment maintained and capable of operating when needed.

            - Orifice lights operational.

            - Orifices clean and valves operating correctly.

            - Orifice cycling and air backflush system operational.

      - Primary Dewaterer (PDW) and Flume.

            - Inclined floor screens clean and in good condition with no damaged panels and no gaps between screen panels.

            - Cleaning brush and air burst systems maintained and operating correctly.

            - Overflow weirs should be maintained, tested, and operating correctly.

            - All valves operating correctly.

            - Baffle boards under inclined screen in good condition, placed appropriately to balance screen approach velocity, and securely attached.

            - Flume interior should be smooth with no rough edges and expansion joints in good operating condition.

            - Maintain full-flow juvenile PIT-tag system as required. Coordinate with PSMFC.

            - Switch gate maintained and in good operating condition.

      - Transportation Facilities.

            - Flume switch gate maintained and in good operating condition.

            - Flume interior smooth with no rough edges and expansion joints in good operating condition.

            - Secondary dewaterer (SDW) clean and in good condition with no damaged panels or gaps between screen panels, air burst system maintained and operating correctly, valves and weirs maintained, tested and operating correctly.

            - Water supply throttling valve and drain sluice gate maintained and operating correctly for facility water supply requirements.

            - Perforated plate for porosity control at separator smooth with no rough edges.

            - Wet separator and fish distribution system maintained and ready for operation.

            - Brushes and screens on crowders in good condition; no holes or rough edges.

            - Crowders maintained, tested, and operating correctly.

            - All valves, slide gates, and switch gates maintained and in good condition.

            - Raceway tail screens in place with no holes in screens or sharp wires protruding.

            - Barge and truck loading pipes should be free of debris, cracks, or blockages and barge loading boom maintained and tested.

            - All sampling equipment should be maintained and in good operating condition prior to watering up the facilities. *In 2020, the bypass facility will begin operations on March 1.

            - Maintain juvenile PIT-tag system as required (see Columbia Basin PIT-tag Information System, General Gate Maintenance and Inspection, Walla Walla District, February 2003). Coordinate with PSMFC.

            - Mini- and midi-tanks maintained and in good operating condition.

- 2.3.2. Juvenile Fish Facilities – Juvenile Fish Passage Season (March 25*–December 15).

- *In 2020, the bypass system will begin operations on March 1, as described below.

- Operate March 25*–October 31 for juvenile bypass, collection, and transport (*except in 2020 when bypass operations begin March 1), and November 1–December 15 for adult fallbacks. Operate according to criteria defined below and in the Corps of Engineers Juvenile Fish Transportation Plan (Appendix B). The transport program may be revised in accordance with the ESA Section 10 permit and NOAA Fisheries Biological Opinion. Project personnel shall retain authority to dewater the juvenile collection system to the extent necessary to prevent frost damage to pipes and other structures during late fall and extended winter operations.

2.3.2.1. Forebay Area and Intakes.

            - Remove debris from forebay.

            - Inspect gatewell slots daily for debris, fish buildup, and contaminating substances (particularly oil). Clean gatewells before they become 50% covered with debris. If the volume of debris precludes the ability to keep the gatewell at least 50% clear, they should be cleaned at least once daily. If orifice flow or fish conditions are observed that indicate an orifice may be obstructed with debris, the orifice will be closed and back-flushed to remove the obstruction. If the obstruction cannot be removed, the orifice will be closed and the alternate orifice for that gatewell slot operated. If both orifices become obstructed or plugged with debris the turbine unit will not be operated until the gatewell and orifices are cleared of debris.

            - If a visible accumulation of contaminating substances (e.g., oil) is detected in a gatewell and cannot be removed within 24 hours, the gatewell orifices shall be closed immediately and the turbine unit shut down within one hour until the material has been removed and any problems corrected. A preferred method for removing oil from the water surface is to install absorbent socks, booms, or pads capable of encapsulating the material, and tie off with a rope for later disposal. Action should be taken as soon as possible to remove oil from the gatewell so the orifice can be reopened to allow fish to exit the gatewell.

            - Log drawdown differentials in bulkhead slots at least once per week.

            - Remove debris from forebay and trashracks as necessary to maintain less than 1' of additional drawdown in gate slots (relative to drawdown with a clean screen). Additional raking may be required when heavy debris loads are present in the river or if fish condition indicates an issue.

            - Coordinate cleaning effort with personnel operating juvenile collection facilities.

            - Dip bulkhead gatewell slots to remove fish prior to installing bulkhead for dewatering bulkhead slot.

2.3.2.2. ESBS, VBS, and Operating Gates.

*In 2020, install screens by March 1 in at least the first three operational units in the priority order (Table LWG-5). Additional units may be screened before March 24 if maintenance schedules allow.

            - ESBSs and flow vanes installed in all operating turbine units by March 24, except in 2020 when screens will be installed in at least the first three available priority units by March 1.

            - Operate ESBSs with flow vanes attached to screen.

            - Operate ESBSs with debris cleaners in automatic mode. Set cleaning frequency as required to maintain clean screens and good fish condition. Change cleaning frequency as needed.

            - Inspect each ESBS by underwater video once per month in March (*2020 only), April, May, and June. Conduct similar inspections in August and October, focusing on at least three turbine units at the judgment of Project personnel. Spot check VBSs at the same time.

            - If an ESBS is damaged or fails during the juvenile fish passage season, follow procedures defined in section 3.2.2. In no case should a turbine unit be operated with a missing or a known non-operating or damaged ESBS, except as noted.

            - Up to half of the project’s ESBSs may be pulled after October 1 for maintenance as long as unscreened turbine units are not operated.

            - Make a formal determination at the end of season as to the adequacy of ESBS bar screen panels and debris cleaner brush, and replace components as necessary.

            - Measure VBS head differentials at least once per week (more frequently if required) April 1*–June 30 (*except in 2020 when bypass operations begin March 1) and biweekly for the remainder of the operating season. When a head differential of 1.5' is reached, the respective turbine unit should be operated at a reduced loading (≤ 110 MW) to minimize loading on the VBS and potential fish impingement until the VBS can be cleaned. Clean VBSs as soon as possible after a 1.5' head differential is reached.

            - Inspect at least two VBSs in two different turbine units between spring and summer. Both units should have been operated frequently in the spring. If a debris accumulation is noted, inspect other VBSs and clean debris as necessary.

            - If NOAA’s National Weather Service (NWS) forecast for Lower Granite is for extreme cold weather (< 20°F for ≥ 24 hours) between Thanksgiving and December 15, screens may be removed and the JBS shutdown for the remainder of the season. The project will first request permission from CENWW-OD-T who will inform NOAA Fisheries and FPOM of the action.

2.3.2.3. Collection Channel.

            - Orifices clean and operating. Operate at least one orifice per gatewell slot (preferably the south 14” orifice) unless a unit is scheduled out of service with non-operational fish screens. If the project is operating within the Minimum Operating Pool (MOP), additional orifices may be opened to increase water velocity in the collection channel and reduce passage time from the bulkhead slots to the primary dewatering structure. If orifices must be closed to repair any part of the facility, do not close orifices in operating units with ESBSs in place for longer than 5 hours. If possible, keep to less than 3 hours. Reduce turbine unit loading to the lower end of the 1% range if deemed necessary by the project biologist. Monitor fish conditions in gatewells hourly or more frequently during orifice closure periods.

            - Orifice lights operational and operating on open orifices. Orifice lights and area lights may be turned off the evening before the channel is dewatered at the end of the season (dewatering occurs on December 16 or later) to encourage fish to exit the channel volitionally. Area lights can be turned on briefly for personnel access if necessary.

            - Replace all burned out orifice lights within 24 hours of notification. Orifice lights shall remain lighted 24 hours/day.

            - Orifice jets hitting no closer than 3’ from back wall, collection channel full.

            - Orifice valves are either fully open or closed.

            - Backflush orifices in the bulkhead slots at least daily and more frequently if required. During periods of high fish and debris passage, April 1* through August 15 (except in 2020 when bypass operations begin March 1), orifices should be inspected and back-flushed more frequently as determined by the project biologist, to keep orifices clean. If debris is causing continual orifice plugging problems in a particular turbine unit gatewell, the respective turbine unit generation may be restricted to the lower end of the 1% peak turbine efficiency range to minimize orifice plugging problems.

            - If utilizing the automatic orifice backflush system, inspect as determined by the project biologist (but at least once per 12-hour shift unless coordinated differently) to ensure that the orifices are opening and closing correctly and are clear of debris. The project biologist will determine the frequency of automatic orifice cycling and back-flushing to maintain clear orifices.

            - North make-up water valve and associated controls operational and maintaining stable channel flow in conjunction with primary dewaterer (PDW).

            - Water-up valve capable of operating when needed.

  - Maintenance - Juvenile Fish Facilities.

3.2.1. Scheduled Maintenance. Scheduled maintenance of juvenile facilities is conducted throughout the year. Long-term maintenance or modifications of facilities, which require extended out of service periods, are conducted during the winter maintenance period (December 16–March 24*). [*NOTE: in 2020, bypass operations will begin March 1, as described in sections 2.3.1 and 2.3.2] During fish passage season, parts of the facilities are maintained on a daily, weekly, or longer interval to keep them in proper operating condition.