# Fish Passage Plan (FPP) Change Request Form

Change Form # & Title:	20TDA001 – AWS operation

Date Submitted:		12/30/2019

Project:			TDA

Requester Name, Agency:	Bob Cordie, USACE

Final Action:			APPROVED 1/23/2020

FPP Section:

TDA section 1.2.1.2 – Adult Fish Facilities

Justification for Change:

Additional information.

Proposed Change:

1.2. Adult Fish Facilities and Migration Timing

1.2.1. Adult Fish Passage Facilities.

1.2.1.2. The east fishway auxiliary water is provided by two fish turbine units providing 4.7–5.0 kcfs. A backup auxiliary water supply, unscreened for juveniles, can provide 1.5 kcfs if needed. The backup system can be used in conjunction with a single fish unit.

Comments:

1/23/2020 FPOM FPP Meeting: The AWS was tested with a single fish unit and it was viable. FPOM supported this change.

Record of Final Action:  APPROVED at the FPOM FPP meeting 1/23/2020