# Fish Passage Plan (FPP) Change Request Form

Change Form # & Title:	20TDA007 – Outage Schedule Review

Date Submitted:		12/31/2019

Project:			TDA

Requester Name, Agency:	Bob Cordie, USACE

Final Action:			APPROVED 1/23/2020

FPP Section: TDA section 4.2.1.2. / Routine Maintenance – Juvenile Facilities

Justification for Change: There has been no formal review of unit outages established through FPOM. Remove FPOM review and rely on project biologists to comply with Fish Passage Plan unit priority. Provide MOC or MFR if not in compliance.

Proposed Change:

- 4.2.1 Routine Maintenance – Juvenile Fish Facilities.

- 4.2.1.2. Turbines and Spillways. Maintenance and routine repair of project turbines and spillways is a regular and recurring process that requires units to be shut down for extended periods (see Appendix F, Dewatering Plans). Maintenance schedules are reviewed by Project and District biologists and coordinated within NWP, NWD, and BPA. If the maintenance requires operating outside of FPP criteria, the work will be coordinated with regional salmon managers via FPOM (see coordination process in FPP Chapter 1 – Overview, section 2.3). Certain turbine and spillway discharges at the projects are secondarily used to attract adult fish to the fishway entrance areas, thus maintenance schedules for these turbines and spillways will reflect equal weight given to fish, power and water management, and will be coordinated with the appropriate resource agencies. No other fish-related restrictions regarding maintenance will be placed on any units at this project, except to coordinate research activities. Some types of turbine maintenance will require testing the turbine operation throughout its full range before returning it to normal service. Units which should receive low priority for scheduling maintenance during the fish passage season are: F1, F2, 1, 2, 3, 4, 8, and 18 (during ITS operation). The trash racks are raked if necessary as determined by ROV inspection just prior to the juvenile fish passage season (April 1), between June 1 and June 15, and whenever trash accumulations are suspected because of increased head across the trash racks.

Comments:

1/23/2020 FPOM FPP Meeting: FPOM supports this change and wants to make sure the same process is in place for the other projects as well. Wright will make that change to other projects.

Record of Final Action:  APPROVED at the FPOM FPP meeting 1/23/2020.